## Sheet1
tag_name | db_mo_actual | v7_val | abs_diff | pct_diff
5th_Effect_Evaporator_C_4535_Overhead_Pressure_KEV | 0.31071 | 0.31071 | 0 | 0
7th_Effect_Evaporator_C_6537_Overhead_Pressure_KEV | 1.1715 | 1.1715 | 0 | 0
Actual_Power_Consumption_5021 | 3.328 | 3.328 | 0 | 0
Air_Compressor_Turbine_A_Steam_raw | 21.9727 | 21.9727 | 0 | 0
Air_Compressor_Turbine_D_Steam_raw | 25690.4551 | 25690.4551 | 0 | 0
Air_Imbalance | 10.7875 | 10.7875 | 0 | 0
Air_compressor_A_Discharge_flow_raw | 3.8539 | 3.8539 | 0 | 0
Air_compressor_B_Discharge_flow_raw | 9877.4814 | 9877.4814 | 0 | 0
Air_compressor_C_Discharge_flow_raw | 3.4477 | 3.4477 | 0 | 0
Air_compressor_D_Discharge_flow_KEV | 13.1433 | 13.1433 | 0 | 0
Air_compressor_D_Discharge_flow_raw | 10164.9336 | 10164.9336 | 0 | 0
All_LP_steam_to_Deaerator | 82.7786 | 82.7786 | 0 | 0
Ambient_Temperature_1 | 6.6314 | 6.6314 | 0 | 0
Arrazi_Plant_Load | 0 | 0 | 0
BFW_B_Turb_Steam_KEV | 12.6032 | 12.6032 | 0 | 0
BFW_B_Turb_Steam_raw | 12603.1582 | 12603.1582 | 0 | 0
BFW_C_Turb_Steam_KEV | 16.2278 | 16.2278 | 0 | 0
BFW_C_Turb_Steam_raw | 16227.8135 | 16227.8135 | 0 | 0
BFW_Conductivity | 4.1147 | 4.1147 | 0 | 0
BFW_E_Turb_Steam_KEV | 13.6297 | 13.6297 | 0 | 0
BFW_E_Turb_Steam_raw | 13629.6621 | 13629.6621 | 0 | 0
BFW_Enthalpy | 111.3713 | 111.3713 | 0 | 0
BFW_TO_LAO | 5.0259 | 5.0259 | 0 | 0
BFW_temp_A | 109.8918 | 109.8918 | 0 | 0
BFW_to_Boilers | 316.3644 | 316.3644 | 0 | 0
BFW_to_EOEG_1 | 0 | 0 | 0
BFW_to_EOEG_2 | 0 | 0 | 0
BFW_to_EOEG_3 | 161.5203 | 161.5203 | 0 | 0
BLR_1_HPS_Gen_Energy | 194.0316 | 194.0316 | 0 | 0
BLR_1_HPS_Gen_raw | 60756.0312 | 60756.0312 | 0 | 0
BLR_2_HPS_Gen_Energy | 200.4163 | 200.4163 | 0 | 0
BLR_2_HPS_Gen_raw | 62755.2422 | 62755.2422 | 0 | 0
BLR_3_HPS_Gen_Energy | 195.2855 | 195.2855 | 0 | 0
BLR_3_HPS_Gen_raw | 61148.6641 | 61148.6641 | 0 | 0
BLR_4_HPS_Gen_Energy | 200.549 | 200.549 | 0 | 0
BLR_4_HPS_Gen_raw | 62796.7891 | 62796.7891 | 0 | 0
BLR_5_HPS_Gen_Energy | 209.9615 | 209.9615 | 0 | 0
BLR_5_HPS_Gen_raw | 65744.0703 | 65744.0703 | 0 | 0
BOILER_A_CBD | 901.4901 | 901.4901 | 0 | 0
BOILER_A_CO2_Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
BOILER_A_CONDUCTIVITY_KEV | 50.8059 | 50.8059 | 0 | 0
BOILER_A_CONDUCTIVITY | 50.8059 | 50.8059 | 0 | 0
BOILER_A_FLUE_GAS_OXGYGEN | 3.6288 | 3.6288 | 0 | 0
BOILER_A_PH_ANALYZER | 9.8055 | 9.8055 | 0 | 0
BOILER_A_STACK_TEMPERATURE | 140.1031 | 140.1031 | 0 | 0
BOILER_B_CBD | 902.3948 | 902.3948 | 0 | 0
BOILER_B_CO2_Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
BOILER_B_CONDUCTIVITY_KEV | 20.4163 | 20.4163 | 0 | 0
BOILER_B_CONDUCTIVITY | 20.4163 | 20.4163 | 0 | 0
BOILER_B_FLUE_GAS_OXGYGEN | 3.6674 | 3.6674 | 0 | 0
BOILER_B_PH_ANALYZER | 10.4196 | 10.4196 | 0 | 0
BOILER_B_STACK_TEMPERATURE | 139.598 | 139.598 | 0 | 0
BOILER_C_CBD | 901.0344 | 901.0344 | 0 | 0
BOILER_C_CO2_Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
BOILER_C_CONDUCTIVITY_KEV | 50.005 | 50.005 | 0 | 0
BOILER_C_CONDUCTIVITY | 50.005 | 50.005 | 0 | 0
BOILER_C_FLUE_GAS_OXGYGEN | 3.4841 | 3.4841 | 0 | 0
BOILER_C_PH_ANALYZER | 10.5371 | 10.5371 | 0 | 0
BOILER_C_STACK_TEMPERATURE | 140.9907 | 140.9907 | 0 | 0
BOILER_D_CBD | 899.8964 | 899.8964 | 0 | 0
BOILER_D_CO2_Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
BOILER_D_CONDUCTIVITY_KEV | 98.5394 | 98.5394 | 0 | 0
BOILER_D_CONDUCTIVITY | 98.5394 | 98.5394 | 0 | 0
BOILER_D_FLUE_GAS_OXGYGEN | 3.611 | 3.611 | 0 | 0
BOILER_D_PH_ANALYZER | 9.8109 | 9.8109 | 0 | 0
BOILER_D_STACK_TEMPERATURE | 136.6631 | 136.6631 | 0 | 0
BOILER_E_CBD | 988.0331 | 988.0331 | 0 | 0
BOILER_E_CO2_Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
BOILER_E_CONDUCTIVITY_KEV | 65.2588 | 65.2588 | 0 | 0
BOILER_E_CONDUCTIVITY | 65.2588 | 65.2588 | 0 | 0
BOILER_E_FLUE_GAS_OXGYGEN | 2.0622 | 2.0622 | 0 | 0
BOILER_E_PH_ANALYZER | 334.2773 | 334.2773 | 0 | 0
BOILER_E_STACK_TEMPERATURE | 154.7974 | 154.7974 | 0 | 0
BOILER_FG_CH4_CONCENTRATION_ARRAZI | 90.9146 | 90.9146 | 0 | 0
BOILER_FG_CO2_CONCENTRATION_ARRAZI | 0.24669 | 0.24669 | 0 | 0
BOILER_FG_ETHANE_CONCENTRATION_ARRAZI | 1.4986 | 1.4986 | 0 | 0
BOILER_FG_IC4_CONCENTRATION_ARRAZI | 0.0386 | 0.0386 | 0 | 0
BOILER_FG_IC5_CONCENTRATION_ARRAZI | 0.017856 | 0.017856 | 0 | 0
BOILER_FG_N2_CONCENTRATION_ARRAZI | 6.933 | 6.933 | 0 | 0
BOILER_FG_NC4_CONCENTRATION_ARRAZI | 0.064391 | 0.064391 | 0 | 0
BOILER_FG_NC5_CONCENTRATION_ARRAZI | 0.013046 | 0.013046 | 0 | 0
BOILER_FG_PROPANE_CONCENTRATION_ARRAZI | 0.2733 | 0.2733 | 0 | 0
Boiler_5_O2 | 4.3358 | 4.3358 | 0 | 0
Boiler_A_Combustion_Air_Temperature | 27.7676 | 27.7676 | 0 | 0
Boiler_A_Main_Fuel_Gas_Temperature | 24.6415 | 24.6415 | 0 | 0
Boiler_B_Combustion_Air_Temperature | 28.41 | 28.41 | 0 | 0
Boiler_B_Main_Fuel_Gas_Temperature | 24.1699 | 24.1699 | 0 | 0
Boiler_CBD | 4.5928 | 4.5928 | 0 | 0
Boiler_C_Combustion_Air_Temperature | 28.2626 | 28.2626 | 0 | 0
Boiler_C_Main_Fuel_Gas_Temperature | 23.8846 | 23.8846 | 0 | 0
Boiler_D_Combustion_Air_Temperature | 22.9298 | 22.9298 | 0 | 0
Boiler_D_Main_Fuel_Gas_Temperature | 23.9609 | 23.9609 | 0 | 0
Boiler_E_Combustion_Air_Temp | 45.8146 | 45.8146 | 0 | 0
Boiler_E_Main_Fuel_Gas_Temperature | 30.9 | 30.9 | 0 | 0
Boilers_Specific_Energy_Consumption | 2.6619 | 2.6619 | 0 | 0
C2310_Bottom_Pressure_KEV | 0.117 | 0.117 | 0 | 0
C2R_dis_1 | 236.1365 | 236.1365 | 0 | 0
C2R_dis_2 | 431.9034 | 431.9034 | 0 | 0
C2R_turbine_Inlet_steam_flow | 94.6366 | 94.6366 | 0 | 0
C2_power | 20.818 | 20.818 | 0 | 0
C3R_Exhaust_temp | 49.5666 | 49.5666 | 0 | 0
C3R_Process_flow | 918.1165 | 918.1165 | 0 | 0
C3R_turbine_Inlet_steam_flow | 173.351 | 173.351 | 0 | 0
C3R_turbine_Inlet_steam_pressure | 44.2611 | 44.2611 | 0 | 0
C3_power | 31.6664 | 31.6664 | 0 | 0
C4310_Bottom_Pressure_KEV | 0.4072 | 0.4072 | 0 | 0
CGC_Disch_Correc_Temp_1Stage | 93.4035 | 93.4035 | 0 | 0
CGC_Disch_Correc_Temp_2Stage | 93.5711 | 93.5711 | 0 | 0
CGC_Disch_Correc_Temp_3Stage | 95.4325 | 95.4325 | 0 | 0
CGC_Disch_Correc_Temp_4Stage | 104.8119 | 104.8119 | 0 | 0
CGC_Extraction_Opening | 92.0808 | 92.0808 | 0 | 0
CGC_Interstage_DP_4Stage | 1.5872 | 1.5872 | 0 | 0
CGC_Turb_SPEED | 3667.3977 | 3667.3977 | 0 | 0
CGC_turbine_Inlet_steam_flow | 491.1052 | 491.1052 | 0 | 0
CO2_Load_raw | 42059.5391 | 42059.5391 | 0 | 0
CO2_Plant_Status | 1 | 1 | 0 | 0
CO2_Power_Consumption | 7 | 7 | 0 | 0
CO2_comp_5020_KEV_Pressure_ratio | 344.4214 | 344.4214 | 0 | 0
CO2_comp_5020_KEV_Temperature_ratio | 1.2883 | 1.2883 | 0 | 0
CO2_comp_5070_KEV_K_5071_Dis_Flow | 47087.4805 | 47087.4805 | 0 | 0
CWS_Return_Temperature | 41.4102 | 41.4102 | 0 | 0
CWS_Supply_Temperature | 33.4673 | 33.4673 | 0 | 0
CW_Circuit_1_return_temp | 33.5202 | 33.5202 | 0 | 0
CW_Circuit_2_delta_Temp | 6.1929 | 6.1929 | 0 | 0
CW_Circuit_2_return_temp | 33.6725 | 33.6725 | 0 | 0
CW_Circuit_2_supply_temp | 27.4796 | 27.4796 | 0 | 0
CW_Header_2_Pressure | 6.6672 | 6.6672 | 0 | 0
CW_Makeup_1 | -71.1523 | -71.1523 | 0 | 0
CW_Makeup_2 | 0.90526 | 0.90526 | 0 | 0
CW_Motor_7814A_Power | 0 | 0 | 0
CW_Motor_7814A_Status | 0 | 0 | 0
CW_Motor_7814B_Power | 2.295 | 2.295 | 0 | 0
CW_Motor_7814B_Status | 1 | 1 | 0 | 0
CW_Motor_7814C_Power | 2.295 | 2.295 | 0 | 0
CW_Motor_7814C_Status | 1 | 1 | 0 | 0
CW_TO_EG1_raw | 171000.8125 | 171000.8125 | 0 | 0
CW_TO_EG1_totalizer | 82494848 | 82494848 | 0 | 0
CW_TO_EG2 | 2103.5654 | 2103.5654 | 0 | 0
CW_TO_ETH | 40538.2031 | 40538.2031 | 0 | 0
CW_TO_LAO | 3855.8579 | 3855.8579 | 0 | 0
CW_TO_LAO_raw | 3855858 | 3855858 | 0 | 0
CW_TO_UTILITIES | 1749.968 | 1749.968 | 0 | 0
CW_TO_UTILITIES_raw | 1749968 | 1749968 | 0 | 0
CW_Turbine_A_Steam_KEV | 33.6697 | 33.6697 | 0 | 0
CW_Turbine_A_Steam | 33.6697 | 33.6697 | 0 | 0
CW_Turbine_B_Steam_KEV | 0 | 0 | 0
CW_Turbine_B_Steam | 5.2893 | 5.2893 | 0 | 0
CW_Turbine_G_Steam_KEV | 36.0046 | 36.0046 | 0 | 0
CW_Turbine_G_Steam | 36.0046 | 36.0046 | 0 | 0
Capacity_Utilization_EG1 | 1.1685 | 1.1685 | 0 | 0
Capacity_Utilization_EG2 | 0.096364 | 0.096364 | 0 | 0
Capacity_Utilization_EG3 | 83.5963 | 83.5963 | 0 | 0
Capacity_Utilization_ETH | 95.0353 | 95.0353 | 0 | 0
Chest_Pressure_E_4610_KEV | 0 | 0 | 0
Chest_Pressure_E_4620_KEV | 0 | 0 | 0
Cold_Seawater_Blowdown_CT_7801 | 0 | 0 | 0
Cool_Seawater_Blowdown_CT_7802 | 0 | 0 | 0
Critical_Tray_Temperature_C_2620_KEV | 0 | 0 | 0
Critical_Tray_Temperature_C_4610_KEV | 0 | 0 | 0
Critical_Tray_Temperature_C_4620_KEV | 0 | 0 | 0
Cycle_Water_Bleed_Eo_EG2_KEV | 8.96 | 8.96 | 0 | 0
DMW_Imbalance | -0.013457 | -0.013457 | 0 | 0
DMW_MAKEUP_Near_Clean_Condensate_Header | 231936.5312 | 231936.5312 | 0 | 0
DMW_MAKEUP_Near_Suspect_Condensate_Header | 3235.5042 | 3235.5042 | 0 | 0
DMW_Makeup | 235.172 | 235.172 | 0 | 0
DMW_Turbine_A_Steam_raw | 6265.1685 | 6265.1685 | 0 | 0
DMW_Turbine_C_Steam_raw | 6.5032 | 6.5032 | 0 | 0
DMW_turbine_MP_steam_2 | 6.2717 | 6.2717 | 0 | 0
DSP_BFW_TO_CAUSTIC_DILUTION | 0.023098 | 0.023098 | 0 | 0
DSP_BFW_TO_EG1 | 0 | 0 | 0
DSP_BFW_TO_EG2 | 0 | 0 | 0
Deaerator_7101_A_KEV_BFW_Flow | 410716.2188 | 410716.2188 | 0 | 0
Deaerator_7101_A_KEV_BFW_Outlet_temp | 109.8918 | 109.8918 | 0 | 0
Deaerator_A_Dissolved_Oxygen_ppb | -0.026364 | -0.026364 | 0 | 0
Deaerator_A_LPS_Energy | 86.8644 | 86.8644 | 0 | 0
Deaerator_A_LPS_Vent | 0.70951 | 0.70951 | 0 | 0
Deaerator_A_LPS_percent | 0.42856 | 0.42856 | 0 | 0
Deaerator_B_Dissolved_Oxygen_ppb | 0.27651 | 0.27651 | 0 | 0
Deaerator_LPS | 82.7786 | 82.7786 | 0 | 0
Decoke_check | 0.069211 | 0.069211 | 0 | 0
Deethaniser_reboiler_Inlet_steam_flow | 4.9354 | 4.9354 | 0 | 0
Drying_Column_Critical_Tray_EG1 | 25.207 | 25.207 | 0 | 0
Drying_Column_Critical_Tray_EG2 | 25.8506 | 25.8506 | 0 | 0
Dumping_condensate_temp | 84.7912 | 84.7912 | 0 | 0
EG1_0xygen_contrl | 0.012945 | 0.012945 | 0 | 0
EG1_BFW_to_Steam_drum_1 | 0.057209 | 0.057209 | 0 | 0
EG1_BFW_to_Steam_drum_2 | 0.37079 | 0.37079 | 0 | 0
EG1_CLEAN_COND_TO_U_O | 0 | 0 | 0
EG1_CLEAN_COND_TO_U_O_raw | 0.077672 | 0.077672 | 0 | 0
EG1_DEG_production_flow | 0.03451 | 0.03451 | 0 | 0
EG1_Fresh_Ethylene | -0.0014811 | -0.0014811 | 0 | 0
EG1_Fresh_Oxygen | -0.023814 | -0.023814 | 0 | 0
EG1_HEG_production_flow | 6.7363 | 6.7363 | 0 | 0
EG1_LP_CONSUMPTION | 7.3862 | 7.3862 | 0 | 0
EG1_LP_Steam_from_V_2112 | -0.014797 | -0.014797 | 0 | 0
EG1_LP_Steam_from_V_2122 | -0.0014165 | -0.0014165 | 0 | 0
EG1_LP_Steam_from_V_2920 | -0.087599 | -0.087599 | 0 | 0
EG1_LP_desuperheated_temp | 61.2491 | 61.2491 | 0 | 0
EG1_LP_to_C_2220 | -0.042152 | -0.042152 | 0 | 0
EG1_LP_to_C_2310 | 1.0406 | 1.0406 | 0 | 0
EG1_LP_to_C_2510 | 6.7537 | 6.7537 | 0 | 0
EG1_LP_to_C_2570 | -0.27432 | -0.27432 | 0 | 0
EG1_LP_to_E_2220 | -0.11215 | -0.11215 | 0 | 0
EG1_LP_to_E_2310 | -0.53364 | -0.53364 | 0 | 0
EG1_LP_to_E_2523 | 0.28007 | 0.28007 | 0 | 0
EG1_MEG_production_flow | 0.02178 | 0.02178 | 0 | 0
EG1_MP_CONSUMPTION | 14.0958 | 14.0958 | 0 | 0
EG1_MP_GENERATION | 0 | 0 | 0
EG1_MP_from_V2110 | 0.47722 | 0.47722 | 0 | 0
EG1_MP_from_V2120 | -0.51058 | -0.51058 | 0 | 0
EG1_MP_steam_BL_pressure | 0.86727 | 0.86727 | 0 | 0
EG1_MP_steam_BL_temp | 68.251 | 68.251 | 0 | 0
EG1_MP_to_E_2531 | -0.10326 | -0.10326 | 0 | 0
EG1_MP_to_E_2610 | 10.9455 | 10.9455 | 0 | 0
EG1_MP_to_E_2620 | -0.74908 | -0.74908 | 0 | 0
EG1_MP_to_E_2624 | 0.0039975 | 0.0039975 | 0 | 0
EG1_MP_to_E_2630 | -0.0019624 | -0.0019624 | 0 | 0
EG1_MP_to_E_2710 | 0.0019726 | 0.0019726 | 0 | 0
EG1_MP_to_E_2720 | 0.11227 | 0.11227 | 0 | 0
EG1_MP_to_V_2533 | 0.00053406 | 0.00053406 | 0 | 0
EG1_RC_TEMP_1 | 54.8619 | 54.8619 | 0 | 0
EG1_RC_TEMP_2 | 55.2067 | 55.2067 | 0 | 0
EG1_Recycle_Compressor_Current | -0.00011199 | -0.00011199 | 0 | 0
EG1_Regen_status | 0 | 0 | 0
EG1_Stripping_status | 0 | 0 | 0
EG1_TEG_production_flow | 899.2849 | 899.2849 | 0 | 0
EG1_condensate_drum | 0.074464 | 0.074464 | 0 | 0
EG1_steam_drum_pr_3 | 0.51244 | 0.51244 | 0 | 0
EG1_suspect_COND_TO_U_O | 0 | 0 | 0
EG1_suspect_COND_TO_U_O_raw | -0.0048845 | -0.0048845 | 0 | 0
EG2_0xygen_contrl | 0.00035569 | 0.00035569 | 0 | 0
EG2_BFW_to_Steam_drum_1 | -0.077823 | -0.077823 | 0 | 0
EG2_BFW_to_Steam_drum_2 | 3.2857 | 3.2857 | 0 | 0
EG2_CLEAN_COND_TO_U_O | 0 | 0 | 0
EG2_CLEAN_COND_TO_U_O_raw | 0.07267 | 0.07267 | 0 | 0
EG2_DEG_production_flow | 0.00045602 | 0.00045602 | 0 | 0
EG2_EOE | 0.0003785 | 0.0003785 | 0 | 0
EG2_Fresh_Ethylene | -0.021618 | -0.021618 | 0 | 0
EG2_Fresh_Oxygen | -0.036497 | -0.036497 | 0 | 0
EG2_HEG_production_flow | -0.18319 | -0.18319 | 0 | 0
EG2_LP_CONSUMPTION | 1.9164 | 1.9164 | 0 | 0
EG2_LP_GENERATION_ENERGY | 0.35448 | 0.35448 | 0 | 0
EG2_LP_GENERATION | 2.5545 | 2.5545 | 0 | 0
EG2_LP_Steam_from_V_4112 | 2.3759 | 2.3759 | 0 | 0
EG2_LP_Steam_from_V_4122 | 0.0694 | 0.0694 | 0 | 0
EG2_LP_Steam_from_V_4920 | 0.10918 | 0.10918 | 0 | 0
EG2_LP_desuperheated_temp | 33.1133 | 33.1133 | 0 | 0
EG2_LP_steam_BL_pressure | 0.13004 | 0.13004 | 0 | 0
EG2_LP_steam_BL_temp | 70.2636 | 70.2636 | 0 | 0
EG2_LP_steam_condensate_enthalpy | 213.6856 | 213.6856 | 0 | 0
EG2_LP_steam_saturated_vapor_enthalpy | 138.7663 | 138.7663 | 0 | 0
EG2_LP_to_C_4220 | -0.0647 | -0.0647 | 0 | 0
EG2_LP_to_C_4310 | 0.2213 | 0.2213 | 0 | 0
EG2_LP_to_C_4510 | 2.2182 | 2.2182 | 0 | 0
EG2_LP_to_C_4570 | -0.50139 | -0.50139 | 0 | 0
EG2_LP_to_E_4220 | 0.070186 | 0.070186 | 0 | 0
EG2_LP_to_E_4310 | -0.52536 | -0.52536 | 0 | 0
EG2_LP_to_E_4523 | -0.0027907 | -0.0027907 | 0 | 0
EG2_MEG_production_flow | -19.2215 | -19.2215 | 0 | 0
EG2_MP_CONSUMPTION | 1.617 | 1.617 | 0 | 0
EG2_MP_desuperheated_temp | 99.3575 | 99.3575 | 0 | 0
EG2_MP_from_V4110 | -0.046912 | -0.046912 | 0 | 0
EG2_MP_from_V4120 | 0.46278 | 0.46278 | 0 | 0
EG2_MP_steam_BL_temp | 100.5853 | 100.5853 | 0 | 0
EG2_MP_steam_condensate_enthalpy | 206.617 | 206.617 | 0 | 0
EG2_MP_steam_saturated_vapor_enthalpy | 2685.9629 | 2685.9629 | 0 | 0
EG2_MP_to_E_4531 | -0.52908 | -0.52908 | 0 | 0
EG2_MP_to_E_4610 | 0.30898 | 0.30898 | 0 | 0
EG2_MP_to_E_4620 | 0.10681 | 0.10681 | 0 | 0
EG2_MP_to_E_4624 | 3.0614e-05 | 3.0614e-05 | 0 | 0
EG2_MP_to_E_4630 | -0.00035451 | -0.00035451 | 0 | 0
EG2_MP_to_E_4710 | -2.2727 | -2.2727 | 0 | 0
EG2_MP_to_E_4720 | 0.22659 | 0.22659 | 0 | 0
EG2_MP_to_V_4533 | 0.0027466 | 0.0027466 | 0 | 0
EG2_RC_TEMP_1 | 35.0971 | 35.0971 | 0 | 0
EG2_RC_TEMP_2 | 34.5352 | 34.5352 | 0 | 0
EG2_Regen_status | 0 | 0 | 0
EG2_Stripping_status | 0 | 0 | 0
EG2_TEG_production_flow | -0.38911 | -0.38911 | 0 | 0
EG2_condensate_drum | 0.12512 | 0.12512 | 0 | 0
EG2_steam_drum_pr_1 | 0.49256 | 0.49256 | 0 | 0
EG2_steam_drum_temp_2 | 30.1679 | 30.1679 | 0 | 0
EG2_suspect_COND_TO_U_O | 0 | 0 | 0
EG2_suspect_COND_TO_U_O_raw | 0.013095 | 0.013095 | 0 | 0
EG3_0xygen_contrl | 6.4704 | 6.4704 | 0 | 0
EG3_CLEAN_COND_TO_U_O | 145.0361 | 145.0361 | 0 | 0
EG3_CLEAN_COND_TO_U_O_raw | 145.0361 | 145.0361 | 0 | 0
EG3_DEG_production_flow | 10.0477 | 10.0477 | 0 | 0
EG3_EOE | 64.7482 | 64.7482 | 0 | 0
EG3_Fresh_Ethylene | 47.2981 | 47.2981 | 0 | 0
EG3_Fresh_Oxygen | 41.5717 | 41.5717 | 0 | 0
EG3_HEG_production_flow | -0.10459 | -0.10459 | 0 | 0
EG3_LP_CONSUMPTION | 71.7782 | 71.7782 | 0 | 0
EG3_LP_GENERATION_ENERGY | 246.9156 | 246.9156 | 0 | 0
EG3_LP_GENERATION | 47.2318 | 47.2318 | 0 | 0
EG3_LP_Steam_from_V_6112 | 20.3824 | 20.3824 | 0 | 0
EG3_LP_Steam_from_V_6122 | 19.5813 | 19.5813 | 0 | 0
EG3_LP_Steam_from_V_6920 | 12.3699 | 12.3699 | 0 | 0
EG3_LP_desuperheated_temp | 164.3773 | 164.3773 | 0 | 0
EG3_LP_steam_BL_pressure | 5.1127 | 5.1127 | 0 | 0
EG3_LP_steam_condensate_enthalpy | 643.8201 | 643.8201 | 0 | 0
EG3_LP_steam_pressure | 4.5822 | 4.5822 | 0 | 0
EG3_LP_steam_saturated_vapor_enthalpy | 2776.5901 | 2776.5901 | 0 | 0
EG3_LP_to_C_6220 | 14.25 | 14.25 | 0 | 0
EG3_LP_to_C_6310 | 0.0055732 | 0.0055732 | 0 | 0
EG3_LP_to_C_6510 | 7.8014 | 7.8014 | 0 | 0
EG3_LP_to_C_6570 | 302.8279 | 302.8279 | 0 | 0
EG3_LP_to_E_6220 | 28.1287 | 28.1287 | 0 | 0
EG3_LP_to_E_6310 | 21.2896 | 21.2896 | 0 | 0
EG3_LP_to_E_6523 | 4.6906 | 4.6906 | 0 | 0
EG3_MEG_production_flow | 78.7131 | 78.7131 | 0 | 0
EG3_MP_CONSUMPTION | 144.559 | 144.559 | 0 | 0
EG3_MP_GENERATION | 157.752 | 157.752 | 0 | 0
EG3_MP_desuperheated_temp | 219.0151 | 219.0151 | 0 | 0
EG3_MP_from_V6110 | 48.0054 | 48.0054 | 0 | 0
EG3_MP_from_V6120 | 52.1863 | 52.1863 | 0 | 0
EG3_MP_steam_BL_pressure | 20.9085 | 20.9085 | 0 | 0
EG3_MP_steam_condensate_enthalpy | 918.9608 | 918.9608 | 0 | 0
EG3_MP_steam_saturated_vapor_enthalpy | 2813.031 | 2813.031 | 0 | 0
EG3_MP_to_E_6531 | 69.8274 | 69.8274 | 0 | 0
EG3_MP_to_E_6610 | 20.6322 | 20.6322 | 0 | 0
EG3_MP_to_E_6620 | 47.7796 | 47.7796 | 0 | 0
EG3_MP_to_E_6624 | 4.004 | 4.004 | 0 | 0
EG3_MP_to_E_6630 | 6396.1938 | 6396.1938 | 0 | 0
EG3_MP_to_E_6710 | 6.6952 | 6.6952 | 0 | 0
EG3_MP_to_E_6720 | 529.108 | 529.108 | 0 | 0
EG3_MP_to_V_6533 | 4.2207 | 4.2207 | 0 | 0
EG3_RC_TEMP_1 | 232.7148 | 232.7148 | 0 | 0
EG3_Recycle_Compressor_Current | 412.0879 | 412.0879 | 0 | 0
EG3_Regen_status | 1 | 1 | 0 | 0
EG3_TEG_production_flow | 593.5588 | 593.5588 | 0 | 0
EG3_condensate_drum | 198.4314 | 198.4314 | 0 | 0
EG3_steam_drum_temp_5 | 198.7518 | 198.7518 | 0 | 0
EG3_suspect_COND_TO_U_O_raw | 2.7775 | 2.7775 | 0 | 0
EI_CO2_Energy_Consumption_monthly | 30154.2203 | 30154.2203 | 0 | 0
EI_CO2_production_monthly | 19637.8359 | 19637.8359 | 0 | 0
EI_EG1_Energy_Consumption_monthly | 201121.0738 | 201121.0738 | 0 | 0
EI_EG1_production_monthly | 25314.0215 | 25314.0215 | 0 | 0
EI_EG2_Energy_Consumption_monthly | 312301.7187 | 312301.7187 | 0 | 0
EI_EG2_production_monthly | 48640.4727 | 48640.4727 | 0 | 0
EI_EG3_Energy_Consumption_monthly | 341457.098 | 341457.098 | 0 | 0
EI_EG3_production_monthly | 64190.25 | 64190.25 | 0 | 0
EI_ETH_Energy_Consumption_monthly | 1805533.2998 | 1805533.2998 | 0 | 0
EI_ETH_production_monthly | 91261.9971 | 91261.9971 | 0 | 0
EI_LAO_Energy_Consumption_monthly | 125122.0305 | 125122.0305 | 0 | 0
EI_LAO_production_monthly | 10171.3145 | 10171.3145 | 0 | 0
EOEG1_Plant_Status | 0 | 0 | 0
EOEG2_Plant_Status | 0 | 0 | 0
EOEG3_Plant_Status | 1 | 1 | 0 | 0
EOEG_1_MPS_Demand | 0 | 0 | 0
EOEG_1_Power_Consumption | 0 | 0 | 0
EOEG_2_LPS_Demand_Energy | 0 | 0 | 0
EOEG_2_LPS_Demand | 0 | 0 | 0
EOEG_2_MPS_Demand | 0 | 0 | 0
EOEG_2_Power_Consumption | 0 | 0 | 0
EOEG_3_LPS_Demand_Energy | 101.6068 | 101.6068 | 0 | 0
EOEG_3_LPS_Demand | 34.8619 | 34.8619 | 0 | 0
EOEG_3_MPS_Demand | 57.5603 | 57.5603 | 0 | 0
EOEG_3_Power_Consumption | 24 | 24 | 0 | 0
ETHANE_Fuel_From_ETH_to_UO_raw | -10.1471 | -10.1471 | 0 | 0
ETH_CLEAN_COND_TO_U_O_raw | 387.6071 | 387.6071 | 0 | 0
ETH_HPS_Demand_old | 0 | 0 | 0
ETH_HP_steam_BL_Export_flow | 12.9818 | 12.9818 | 0 | 0
ETH_LPS_Demand | 70.0888 | 70.0888 | 0 | 0
ETH_Plant_Status | 1 | 1 | 0 | 0
ETH_Power_Consumption | 3.5 | 3.5 | 0 | 0
ETH_Surface_condenser_controller_level_opening | 100 | 100 | 0 | 0
ETH_suspect_COND_TO_U_O | 160.9862 | 160.9862 | 0 | 0
ETH_suspect_COND_TO_U_O_raw | 160.9862 | 160.9862 | 0 | 0
Energy_GJ_BO_7104A | 165.9293 | 165.9293 | 0 | 0
Energy_GJ_BO_7104B | 165.8856 | 165.8856 | 0 | 0
Energy_GJ_BO_7104C | 165.6429 | 165.6429 | 0 | 0
Energy_GJ_BO_7104D | 165.8596 | 165.8596 | 0 | 0
Energy_GJ_BO_7104E | 169.9554 | 169.9554 | 0 | 0
Energy_GJ_KM_2115 | 0 | 0 | 0
Energy_GJ_KM_4115 | 0 | 0 | 0
Energy_GJ_KM_7202C | 0 | 0 | 0
Energy_GJ_KT_7202D | 7.1694 | 7.1694 | 0 | 0
Energy_GJ_PK_5020 | 11.9806 | 11.9806 | 0 | 0
Energy_GJ_PK_5070 | 4.6954 | 4.6954 | 0 | 0
Energy_GJ_PT_7102B | 8.9193 | 8.9193 | 0 | 0
Energy_GJ_PT_7102C | 8.557 | 8.557 | 0 | 0
Eth_CGC_turbine_Duty | 66.5408 | 66.5408 | 0 | 0
Eth_HP_to_CGC_lube_oil_pump_turbine_flow_Energy | 12.7745 | 12.7745 | 0 | 0
Eth_HP_to_E_1103_flow_Energy | 18.8424 | 18.8424 | 0 | 0
Eth_HP_to_E_1214_flow_Energy | 40.559 | 40.559 | 0 | 0
Eth_HP_to_PT_1650_flow_Energy | 12.7745 | 12.7745 | 0 | 0
Eth_LP_steam_condensate_enthalpy | 631.4905 | 631.4905 | 0 | 0
Eth_LP_steam_saturated_vapor_enthalpy | 2743.9165 | 2743.9165 | 0 | 0
Ethane_feed_saturator_inlet_steam_flow | 149.3863 | 149.3863 | 0 | 0
Ethylene_in_tail_gas_KEV | 0.20801 | 0.20801 | 0 | 0
Ethylene_total_flow | 164.3291 | 164.3291 | 0 | 0
FD_Fan_BLR_1_Steam_raw | 4037.3484 | 4037.3484 | 0 | 0
FD_Fan_BLR_2_Steam_raw | 4077.0686 | 4077.0686 | 0 | 0
FD_Fan_BLR_3_Steam_raw | 4280.561 | 4280.561 | 0 | 0
FD_Fan_BLR_4_Steam_raw | 4454.9297 | 4454.9297 | 0 | 0
FD_Fan_BLR_5_Steam_raw | 5814.8696 | 5814.8696 | 0 | 0
FUEL_GAS_From_UO_to_ETH | 9.9828 | 9.9828 | 0 | 0
FUEL_GAS_From_UO_to_Flare | 0.00052705 | 0.00052705 | 0 | 0
FUEL_GAS_From_UO_to_Flare_raw | 0.52705 | 0.52705 | 0 | 0
FUEL_GAS_From_UO_to_Incinerator_raw | 423.1483 | 423.1483 | 0 | 0
FUEL_GAS_From_UO_to_LAO_A | 2960.1753 | 2960.1753 | 0 | 0
FUEL_GAS_From_UO_to_LAO_B | -2.4902 | -2.4902 | 0 | 0
FUEL_GAS_From_UO_to_LAO_Opt | 2.6872 | 2.6872 | 0 | 0
FUEL_GAS_From_UO_to_LAO | 2.9577 | 2.9577 | 0 | 0
FUEL_GAS_From_UO_to_LAO_raw | 2870.1086 | 2870.1086 | 0 | 0
FUEL_GAS_From_UO_to_WTO | 0.44778 | 0.44778 | 0 | 0
FUEL_GAS_From_UO_to_WTO_raw | 447.7759 | 447.7759 | 0 | 0
FUR_1_FLUE_GAS_O2 | 16.6504 | 16.6504 | 0 | 0
FUR_1_STACK_TEMPERATURE | 29.2039 | 29.2039 | 0 | 0
FUR_2_FLUE_GAS_O2 | 2.3509 | 2.3509 | 0 | 0
FUR_2_STACK_TEMPERATURE | 156.5013 | 156.5013 | 0 | 0
FUR_3_FLUE_GAS_O2 | 3.59 | 3.59 | 0 | 0
FUR_3_STACK_TEMPERATURE | 161.3257 | 161.3257 | 0 | 0
FUR_4_FLUE_GAS_O2 | 3.3346 | 3.3346 | 0 | 0
FUR_4_STACK_TEMPERATURE | 166.2222 | 166.2222 | 0 | 0
FUR_5_FLUE_GAS_O2 | 2.5142 | 2.5142 | 0 | 0
FUR_5_STACK_TEMPERATURE | 155.6001 | 155.6001 | 0 | 0
FUR_6_FLUE_GAS_O2 | 5.0967 | 5.0967 | 0 | 0
FUR_6_STACK_TEMPERATURE | 156.5574 | 156.5574 | 0 | 0
FUR_7_FLUE_GAS_O2 | 3.0091 | 3.0091 | 0 | 0
FUR_7_STACK_TEMPERATURE | 164.1141 | 164.1141 | 0 | 0
FUR_8_FLUE_GAS_O2 | 3.0025 | 3.0025 | 0 | 0
FUR_8_STACK_TEMPERATURE | 165.4324 | 165.4324 | 0 | 0
FUR_9_FLUE_GAS_O2 | 3.1573 | 3.1573 | 0 | 0
FUR_9_STACK_TEMPERATURE | 143.8576 | 143.8576 | 0 | 0
Fractional_Conversion_Bicarbonate_C_4220_KEV | 0 | 0 | 0
Fuel_Demand_in_Energy_in_GJ_Hr | 833.2729 | 833.2729 | 0 | 0
Fuel_Emission_Factor | 2.3077 | 2.3077 | 0 | 0
Fuel_Gas_C2H4_Concentration | 0.32842 | 0.32842 | 0 | 0
Fuel_Gas_C2H6_Concentration | 0.23005 | 0.23005 | 0 | 0
Fuel_Gas_C3H8_Concentration | 0.0070807 | 0.0070807 | 0 | 0
Fuel_Gas_CH4_Concentration | 16.744 | 16.744 | 0 | 0
Fuel_Gas_H2_Concentration | 80.7536 | 80.7536 | 0 | 0
Fuel_gas_drum_pressure_KEV | 4.2145 | 4.2145 | 0 | 0
Fuel_to_LAO_Heater | 2957.6851 | 2957.6851 | 0 | 0
Furnace_A_Fuel_gas_flow | -0.0024719 | -0.0024719 | 0 | 0
Furnace_A_steam_outlet_flow | -4.4115 | -4.4115 | 0 | 0
Furnace_B_Fuel_gas_flow | 4.4107 | 4.4107 | 0 | 0
Furnace_B_steam_outlet_flow | 56.054 | 56.054 | 0 | 0
Furnace_C_Fuel_gas_flow | 4.8783 | 4.8783 | 0 | 0
Furnace_C_steam_outlet_flow | 60.404 | 60.404 | 0 | 0
Furnace_D_Fuel_gas_flow | 4.5829 | 4.5829 | 0 | 0
Furnace_D_steam_outlet_flow | 59.1488 | 59.1488 | 0 | 0
Furnace_E_Fuel_gas_flow | 4.5363 | 4.5363 | 0 | 0
Furnace_E_steam_outlet_flow | 57.8751 | 57.8751 | 0 | 0
Furnace_F_Fuel_gas_flow | 3.7583 | 3.7583 | 0 | 0
Furnace_F_steam_outlet_flow | 50.1101 | 50.1101 | 0 | 0
Furnace_G_Fuel_gas_flow | 4.6617 | 4.6617 | 0 | 0
Furnace_G_steam_outlet_flow | 57.5746 | 57.5746 | 0 | 0
Furnace_H_Fuel_gas_flow | 4.7339 | 4.7339 | 0 | 0
Furnace_H_steam_outlet_flow | 59.5274 | 59.5274 | 0 | 0
Furnace_J_Fuel_gas_flow | 4.3104 | 4.3104 | 0 | 0
Furnace_J_steam_outlet_flow | 57.0984 | 57.0984 | 0 | 0
Glycol_Reactor_R_2520_Inlet_KEV | 29.8685 | 29.8685 | 0 | 0
Glycol_Reactor_R_4520_Inlet_KEV | 30.6976 | 30.6976 | 0 | 0
H3831_steam_flow | 858032.3125 | 858032.3125 | 0 | 0
HPS_to_Turbines | 228.4249 | 228.4249 | 0 | 0
HP_Steam_Enthalpy | 763.2932 | 763.2932 | 0 | 0
HP_Steam_Pressure | 44.7938 | 44.7938 | 0 | 0
HP_Steam_Temperature | 395.6656 | 395.6656 | 0 | 0
HP_Steam_Vent_Valve_PC7027_Opening_ETH | 0 | 0 | 0
HP_Steam_Vent_Valve_PC7032_Opening_ETH | 0 | 0 | 0
HP_Steam_Vent_valve_PV0012_Opening_UO | 0 | 0 | 0
HP_Steam_from_CGC_Extraction | 292.7732 | 292.7732 | 0 | 0
HP_to_LP_Let_Down_Valve_Opening_HC7262_ETH | 24.9999 | 24.9999 | 0 | 0
HP_to_LP_Let_Down_Valve_Opening_PC7026_ETH | 6.0241 | 6.0241 | 0 | 0
HP_to_MP_Let_Down_Valve_Opening_PC9209_EG1 | 0 | 0 | 0
HP_to_MP_Let_Down_Valve_Opening_PC9209_EG2 | 0 | 0 | 0
HP_to_MP_Letdown_Valve_Opening_PV0007A_UO | 100 | 100 | 0 | 0
HP_to_MP_Letdown_Valve_Opening_PV0007B_UO | 41.2863 | 41.2863 | 0 | 0
Hot_Seawater_Blowdown_CT_7802 | 2633.3452 | 2633.3452 | 0 | 0
Instr_air_to_CW_in_m3ph | 112.4501 | 112.4501 | 0 | 0
Instr_air_to_EG1_in_kgph | 788.6644 | 788.6644 | 0 | 0
Instr_air_to_EG2_in_kgph | 601.7606 | 601.7606 | 0 | 0
Instr_air_to_EG3_in_kgph | 876.53 | 876.53 | 0 | 0
Instr_air_to_Eth_in_tph | 1.7425 | 1.7425 | 0 | 0
Instr_air_to_LAO_in_kgph | 756.41 | 756.41 | 0 | 0
KM_2115_Flow | -0.15287 | -0.15287 | 0 | 0
KM_2115_Status | 0 | 0 | 0
KM_4115_Flow | 1.8229 | 1.8229 | 0 | 0
KM_4115_Status | 0 | 0 | 0
KM_6115_Status | 1 | 1 | 0 | 0
KT_1500_temp_out | 57.3006 | 57.3006 | 0 | 0
K_5021_suc_temp | 34.4999 | 34.4999 | 0 | 0
K_5071_Dis_Flow | 47087.4805 | 47087.4805 | 0 | 0
LAO_Heater_KEV_Feed_flow | 858032.3125 | 858032.3125 | 0 | 0
LAO_Heater_KEV_Feed_temp | 268.9126 | 268.9126 | 0 | 0
LAO_Heater_KEV_Stack_O2% | 3.8777 | 3.8777 | 0 | 0
LAO_LP_Steam_Demand_Energy | 2.7576 | 2.7576 | 0 | 0
LAO_LP_Steam_Demand_TPH | 0.9305 | 0.9305 | 0 | 0
LAO_LP_Steam_Demand | 0.9305 | 0.9305 | 0 | 0
LAO_LP_Steam_Demand_raw | 930.5038 | 930.5038 | 0 | 0
LAO_Load | 14.3826 | 14.3826 | 0 | 0
LAO_Plant_Status | 1 | 1 | 0 | 0
LAO_Power_Consumption | 6 | 6 | 0 | 0
LAO_STACK_TEMPERATURE | 353.9387 | 353.9387 | 0 | 0
LAO_oxygen | 3.8777 | 3.8777 | 0 | 0
LHV | 41.7425 | 41.7425 | 0 | 0
LP_Steam_Dumping_Valve_PC0024A_Opening_UO | 42.5806 | 42.5806 | 0 | 0
LP_Steam_Enthalpy | 696.5941 | 696.5941 | 0 | 0
LP_Steam_From_Condensate_Drum | 0.65772 | 0.65772 | 0 | 0
LP_Steam_Pressure | 5.1001 | 5.1001 | 0 | 0
LP_Steam_Temperature | 229.8323 | 229.8323 | 0 | 0
LP_Steam_To_Stripping_Column_Duty | 2.2177 | 2.2177 | 0 | 0
LP_Steam_Vent_Valve_PC7028_Opening_ETH | 0 | 0 | 0
LP_Steam_Vent_valve_PV0024B_Opening_UO | 2.1434 | 2.1434 | 0 | 0
LP_Steam_from_HP_stm_turb | 228.4249 | 228.4249 | 0 | 0
LP_Steam_from_MP_stm_turb | 6.2717 | 6.2717 | 0 | 0
LP_Steam_from_PRC_Extraction | 61.3123 | 61.3123 | 0 | 0
LP_for_heating_only_HPS_Boiler | 20.2205 | 20.2205 | 0 | 0
LP_steam_condensate_enthalpy | 401.7265 | 401.7265 | 0 | 0
LP_steam_pressure_to_saturator | 3.7436 | 3.7436 | 0 | 0
LP_steam_saturated_vapor_enthalpy | 256.436 | 256.436 | 0 | 0
LP_to_LLP_Let_Down_Valve_PC7029_Opening_ETH | 33.6937 | 33.6937 | 0 | 0
MEG_Column_Critical_Tray_EG1 | 26.3722 | 26.3722 | 0 | 0
MEG_Column_Critical_Tray_EG2 | 25.2169 | 25.2169 | 0 | 0
MEG_Column_Critical_Tray_EG3 | 141.284 | 141.284 | 0 | 0
MP_Steam_Enthalpy | 708.2987 | 708.2987 | 0 | 0
MP_Steam_Pressure | 21.0088 | 21.0088 | 0 | 0
MP_Steam_Temperature | 277.1837 | 277.1837 | 0 | 0
MP_steam_condensate_enthalpy | 400.8509 | 400.8509 | 0 | 0
MP_steam_saturated_vapor_enthalpy | 2671.5352 | 2671.5352 | 0 | 0
MP_to_Intermediate_Letdown_Valve_Opening_PV9206A_EG3 | 29.1592 | 29.1592 | 0 | 0
MP_to_LP_Letdown_Valve_Opening_PV013A_UO | 0 | 0 | 0
MP_to_LP_Letdown_Valve_Opening_PV013B_UO | 0 | 0 | 0
MP_to_LP_Letdown_Valve_Opening_PV31_UO | 0 | 0 | 0
MP_to_LP_Letdown_Valve_Opening_PV32_UO | 0 | 0 | 0
NATURAL_GAS_Import_CTM_raw | 35539.1758 | 35539.1758 | 0 | 0
NG_Fuel_to_EG1 | 0 | 0 | 0
NG_Fuel_to_EG1_raw | 339.9995 | 339.9995 | 0 | 0
NG_Fuel_to_EG2_raw | 1.0019 | 1.0019 | 0 | 0
NG_Fuel_to_EG3_raw | 0.48828 | 0.48828 | 0 | 0
New_Cold_Seawater_Blowdown_CT_7802 | 0 | 0 | 0
Optimum_Eff_5021 | 64.2729 | 64.2729 | 0 | 0
Overall_SHC_Ratio | 0.33696 | 0.33696 | 0 | 0
PK_5020_status | 1 | 1 | 0 | 0
Percentage_Blowdown_CT_7801 | 22.0785 | 22.0785 | 0 | 0
Percentage_Blowdown_CT_7802 | 10.6447 | 10.6447 | 0 | 0
Plant_air_to_EG1_in_kgph | 54.7896 | 54.7896 | 0 | 0
Plant_air_to_EG2_in_kgph | -0.14934 | -0.14934 | 0 | 0
Plant_air_to_EG3_in_kgph | -0.7642 | -0.7642 | 0 | 0
Plant_air_to_LAO_in_kgph | 0.51962 | 0.51962 | 0 | 0
Polished_Condenstae_to_Deaerator | 298.5074 | 298.5074 | 0 | 0
Power_to_CO2_Cost | 336.0168 | 336.0168 | 0 | 0
Power_to_CO2_Energy | 25.2 | 25.2 | 0 | 0
Power_to_EG_2_Cost | 624.0312 | 624.0312 | 0 | 0
Power_to_EG_3_Cost | 1152.0576 | 1152.0576 | 0 | 0
Power_to_LAO_Cost | 280.014 | 280.014 | 0 | 0
Power_to_LAO_Energy | 21 | 21 | 0 | 0
Power_to_Utility_Cost | 2159.46 | 2159.46 | 0 | 0
Process_condensate_stripper_Inlet_steam_flow | 12.9336 | 12.9336 | 0 | 0
Process_flow_of_C_2220_E_2220 | -0.0057273 | -0.0057273 | 0 | 0
Process_flow_of_C_4220_E_4220 | -0.026452 | -0.026452 | 0 | 0
Process_flow_of_E_2523 | 0.83548 | 0.83548 | 0 | 0
Process_flow_of_E_2610 | -0.0009028 | -0.0009028 | 0 | 0
Process_flow_of_E_2620 | 0.46492 | 0.46492 | 0 | 0
Process_flow_of_E_4523 | 0.071378 | 0.071378 | 0 | 0
Process_flow_of_E_4610 | 0.029914 | 0.029914 | 0 | 0
Process_flow_of_E_4620 | -0.029006 | -0.029006 | 0 | 0
Process_flow_of_E_6220 | 15.9462 | 15.9462 | 0 | 0
Process_flow_of_E_6531 | 64.7482 | 64.7482 | 0 | 0
Process_flow_of_KM_6115 | 1530.583 | 1530.583 | 0 | 0
Process_flow_of_PK_5020 | 15190.04 | 15190.04 | 0 | 0
Purge_Steam_to_Furnace_valve_PDC1154_Opening_ETH | 79.6717 | 79.6717 | 0 | 0
Purge_Steam_to_Furnace_valve_PDC1155_Opening_ETH | 0 | 0 | 0
Quench_water_pump_turbine_Inlet_steam_flow_Energy | 48.7658 | 48.7658 | 0 | 0
Quench_water_pump_turbine_Inlet_steam_flow | 15.2697 | 15.2697 | 0 | 0
Reactor_Outlet_R_4520_Leg_Temp_Delta_KEV | 0.035078 | 0.035078 | 0 | 0
Reboiler_Steam_flow_E_4610_KEV | 0 | 0 | 0
Recycle_Water_Tank_Meg_EG2_KEV | 0.3 | 0.3 | 0 | 0
Regeneration_Gas_Heater_Level | 0 | 0 | 0
Regenerator_C_2220_Bottom_Temp_KEV | 26.2111 | 26.2111 | 0 | 0
Regenerator_C_4220_Bottom_Temp_KEV | 25.0642 | 25.0642 | 0 | 0
Regenerator_C_6220_Bottom_Temp_KEV | 110.4486 | 110.4486 | 0 | 0
Relative_Humidity | -4.2572 | -4.2572 | 0 | 0
Sea_CW_delta_Temp | 6.0033 | 6.0033 | 0 | 0
Sea_water_CT_7801_to_basin_temp | 23.6208 | 23.6208 | 0 | 0
Sea_water_PHE_to_CT_7801_temp | 33.7998 | 33.7998 | 0 | 0
Sea_water_blowdown_flow | 63409936 | 63409936 | 0 | 0
Sea_water_cond_CT_LIMS | 64200 | 64200 | 0 | 0
Sea_water_cost | 247.1014 | 247.1014 | 0 | 0
Sea_water_makeup_CW | 13727.8564 | 13727.8564 | 0 | 0
Sea_water_pumps_to_PHE_temp | 23.0176 | 23.0176 | 0 | 0
Sea_water_return_temp | 28.7589 | 28.7589 | 0 | 0
Sea_water_supply_1_temp | 22.7645 | 22.7645 | 0 | 0
Sea_water_supply_2_temp | 22.7557 | 22.7557 | 0 | 0
Seawater_Blowdown_CT_7801 | 11096.3486 | 11096.3486 | 0 | 0
Seawater_Blowdown_from_CT_7801 | 11096.3486 | 11096.3486 | 0 | 0
Seawater_Blowdown_from_CT_7802 | 2631.5078 | 2631.5078 | 0 | 0
Seawater_Return_to_CT_1 | 50258.5117 | 50258.5117 | 0 | 0
Seawater_Return_to_CT_7802 | 24721.2266 | 24721.2266 | 0 | 0
Short_Eff_5071 | 3.8412 | 3.8412 | 0 | 0
Sp_En_KM_2115 | 0 | 0 | 0
Sp_En_KM_4115 | 0 | 0 | 0
Sp_En_KM_7202C | 0 | 0 | 0
Sp_En_KT_7202D | 0.54548 | 0.54548 | 0 | 0
Sp_En_PK_5020 | 0.78872 | 0.78872 | 0 | 0
Sp_En_PK_5070 | 0.099716 | 0.099716 | 0 | 0
Sp_En_PT_7102B | 0.028028 | 0.028028 | 0 | 0
Sp_En_PT_7102C | 0.028723 | 0.028723 | 0 | 0
Sp_En_PT_7801B | 0 | 0 | 0
Specific_energy_consumption_in_C2R | 0.13566 | 0.13566 | 0 | 0
Specific_energy_consumption_in_C3R | 0.20636 | 0.20636 | 0 | 0
Steam_Flow_E_4523_KEV | -0.0027907 | -0.0027907 | 0 | 0
Steam_Generation_from_Boilers | 313.2008 | 313.2008 | 0 | 0
Stripper_Column_C_2310_Top_Temp_KEV | 30.4765 | 30.4765 | 0 | 0
Stripper_Column_C_4310_Top_Temp_KEV | 31.5877 | 31.5877 | 0 | 0
TAILGAS_From_EG1_to_UO_raw | 0.30384 | 0.30384 | 0 | 0
TAILGAS_From_EG2_to_UO_raw | 1047.0648 | 1047.0648 | 0 | 0
TAILGAS_From_EG3_to_UO_raw | 0 | 0 | 0
Total_Air_Consumption | 5.9915 | 5.9915 | 0 | 0
Total_DMW_Demand | 235.1586 | 235.1586 | 0 | 0
Total_Ethylene_Production_ETH_Plant | 167.1945 | 167.1945 | 0 | 0
Total_Flow_to_Deareator_A | 410716.2188 | 410716.2188 | 0 | 0
Total_Flow_to_Deareator_B | 408132.8438 | 408132.8438 | 0 | 0
Total_Fuel_Demand | 19.9622 | 19.9622 | 0 | 0
Total_Steam_To_Regenerator_EG1 | -0.1543 | -0.1543 | 0 | 0
Total_Steam_To_Regenerator_EG2 | 0.0054859 | 0.0054859 | 0 | 0
Total_Steam_To_Regenerator_EG3 | 42.3788 | 42.3788 | 0 | 0
Total_Steam_To_Stripping_Column_EG1 | 0.50698 | 0.50698 | 0 | 0
Total_Steam_To_Stripping_Column_EG2 | -0.30406 | -0.30406 | 0 | 0
Total_ethylene_product_flow_calculated | 153.4534 | 153.4534 | 0 | 0
Treated_Water_To_1st_Effect_Evaporator_C_4531_KEV | 0 | 0 | 0
Treated_Water_To_2nd_Effect_Evaporator_C_4532_KEV | 0.010761 | 0.010761 | 0 | 0
Treated_Water_To_3rd_Effect_Evaporator_C_2533_KEV | 0 | 0 | 0
Treated_Water_To_3rd_Effect_Evaporator_C_4533_KEV | 0.0074742 | 0.0074742 | 0 | 0
Treated_Water_To_4th_Effect_Evaporator_C_2534_KEV | 0 | 0 | 0
Treated_Water_To_4th_Effect_Evaporator_C_4534_KEV | 0.0017357 | 0.0017357 | 0 | 0
Treated_Water_To_5th_Effect_Evaporator_C_2535_KEV | 0.020993 | 0.020993 | 0 | 0
Treated_Water_To_5th_Effect_Evaporator_C_4535_KEV | 0.0043492 | 0.0043492 | 0 | 0
Treated_Water_To_5th_Effect_Evaporator_C_6535_KEV | 2.4997 | 2.4997 | 0 | 0
Treated_Water_To_6th_Effect_Evaporator_C_6536_KEV | 2.4865 | 2.4865 | 0 | 0
Treated_Water_To_7th_Effect_Evaporator_C_6537_KEV | 3.2813 | 3.2813 | 0 | 0
Turbine_exhaust_pressure_a | 135.4423 | 135.4423 | 0 | 0
Turbine_exhaust_pressure_b | 135.4851 | 135.4851 | 0 | 0
Turbine_exhaust_pressure_c | 147.0993 | 147.0993 | 0 | 0
Turbine_exhaust_pressure_old | 994.0867 | 994.0867 | 0 | 0
UO_FUEL_CONSUMPTION | 55.5014 | 55.5014 | 0 | 0
UO_HP_GENERATION_ENERGY | 1000.244 | 1000.244 | 0 | 0
UO_HP_GENERATION | 313.2008 | 313.2008 | 0 | 0
UO_HP_MP_Desuperheater1_opening | 46.6267 | 46.6267 | 0 | 0
UO_LP_GENERATION | 234.6966 | 234.6966 | 0 | 0
UO_Power_Consumption_without_Drives | 45 | 45 | 0 | 0
Utilities_plant_status | 1 | 1 | 0 | 0
VHP_BFW_A_Discharge_flow | -25.411 | -25.411 | 0 | 0
VHP_BFW_B_Discharge_flow_KEV | 318.2226 | 318.2226 | 0 | 0
VHP_BFW_B_Discharge_flow | 318222.5938 | 318222.5938 | 0 | 0
VHP_BFW_B_Turb_Steam_KEV | 31.9607 | 31.9607 | 0 | 0
VHP_BFW_B_Turb_Steam_raw | 31960.7324 | 31960.7324 | 0 | 0
VHP_BFW_C_Discharge_flow_KEV | 297.9181 | 297.9181 | 0 | 0
VHP_BFW_C_Discharge_flow | 297918.0625 | 297918.0625 | 0 | 0
VHP_BFW_C_Turb_Steam_KEV | 30.6627 | 30.6627 | 0 | 0
VHP_BFW_C_Turb_Steam_raw | 30662.7383 | 30662.7383 | 0 | 0
VHP_BFW_FROM_U_O | 487.1685 | 487.1685 | 0 | 0
VHP_DESPHTR_BFW_FROM_U_O | 38.1764 | 38.1764 | 0 | 0
VHP_Flow_Demand | 525.3449 | 525.3449 | 0 | 0
VHP_Steam_Pressure | 103.9342 | 103.9342 | 0 | 0
VHP_Steam_Temperature | 499.2784 | 499.2784 | 0 | 0
VHP_to_HP_Let_Down_Valve_Opening_PX7024A_ETH | 0 | 0 | 0
VHP_to_HP_Let_Down_Valve_Opening_PX7024B_ETH | 10 | 10 | 0 | 0
W_EOE_ratio_EG1 | -0.24472 | -0.24472 | 0 | 0
W_EOE_ratio_EG2 | 377.5977 | 377.5977 | 0 | 0
W_EOE_ratio_EG3 | 20.969 | 20.969 | 0 | 0
avg_load | 112 | 112 | 0 | 0
max_spec_en_consumption | 2.7311 | 2.7311 | 0 | 0
scaled_eff_5021 | 58.1816 | 58.1816 | 0 | 0
scaled_eff_5071 | 74.0511 | 74.0511 | 0 | 0