## PI_value_mismatch
short_name | pi_name | py_master_pi_data | db_model_output_actual | abs_diff | rel_err_pct

## not_in_DB_model_output
short_name | pi_name | py_master_pi_data
BFW_Pressure | UN.UO.71PI1021A.PV | 79.3
BFW_Temperature | UN.UO.71TI1079.PV | 109.9
BFW_to_EOEG_3_raw | UN.EG3.69FI9214.PV | 157.0803
Deaerator_A_LPS_raw | UN.UO.71FI1002.PV | 39457.05
Deaerator_B_LPS_raw | UN.UO.71FI1004.PV | 45145.76
LHV_Raw | UN.UO.BO-7101A.Boiler_Mixed_Lhv_Per_Kg_PEEO_CALC_OUTPUT | 9976.7
Fuel_BLR_1_raw | UN.UO.BO-7101A.Boiler_Corrected_Fuel_Flow_PEEO_CALC_OUTPUT | 4496.577
Fuel_BLR_2_raw | UN.UO.BO-7101B.Boiler_Corrected_Fuel_Flow_PEEO_CALC_OUTPUT | 4497.54
Fuel_BLR_3_raw | UN.UO.BO-7101C.Boiler_Corrected_Fuel_Flow_PEEO_CALC_OUTPUT | 4496.977
Fuel_BLR_4_raw | UN.UO.BO-7101D.Boiler_Corrected_Fuel_Flow_PEEO_CALC_OUTPUT | 4496.966
Fuel_BLR_5_raw | UN.UO.PK-7104E.Boiler_Corrected_Fuel_Flow_PEEO_CALC_OUTPUT | 4611.247
BFW_A_AMPS | UN.UO.71II1001.PV | -0.39193
BFW_A_Vibrations | UN.UO.71VI1002A.PV | 0.59339
BFW_A_Bearing_temp | UN.UO.71TI1016A.PV | 34.9864
BFW_D_AMPS | UN.UO.71II1002.PV | -0.56789
BFW_D_Vibrations | UN.UO.71VI1006A.PV | 0.79469
BFW_D_Bearing_temp | UN.UO.71TI1020A.PV | 37.9519
PM7103F_CWP_MTR_BEARING | UN.UO.71TI1861.PV | 31.2919
BFW_F_Vibration | UN.UO.71VI1872.PV | 0
VHP_BFW_A_AMPS | UN.UO.71II1003.PV | 0.10758
VHP_BFW_A_Vibration | UN.UO.71VI1012A.PV | 0.60213
CW_Turbine_A_RPM | UN.UO.78SI8001.PV | 4197.39
CW_Turbine_B_RPM | UN.UO.78SI8003.PV | 4199.414
PM7801C_CWP_MTR_BEARING | UN.UO.78TI8178A.PV | 36.863
CW_Motor_C_Winding_temp | UN.UO.78TI8180.PV | 41.7597
PM7801D_CWP_MTR_BEARING | UN.UO.78TI8183A.PV | 65.0995
CW_Motor_D_Winding_temp | UN.UO.78TI8185.PV | 70.9994
PM7801E_CWP_MTR_BEARING | UN.UO.78TI8188A.PV | 57.0177
CW_Motor_E_Winding_temp | UN.UO.78TI8190.PV | 66.9362
PM7801F_CWP_MTR_BEARING | UN.UO.78TI8193A.PV | 25.3145
CW_Motor_F_Winding_temp | UN.UO.78TI8195.PV | 84.9075
CW_Turbine_G_RPM | UN.UO.78SI8600.PV | 4197.964
Air_Compressor_Turbine_A_RPM | UN.UO.72SI2001.PV | -1.7798
Air_Compressor_Turbine_D_RPM | UN.UO.72SI2002.PV | 3582.975
Air_Compressor_B_Discharge_Pressure | UN.UO.72PC2009.PV | 7.98
Air_Compressor_C_Discharge_Pressure | UN.UO.72PC2015.PV | 0.02223
DMW_Turbine_A_RPM | UN.UO.73SI3001.PV | -15.1902
DMW_Motor_B_Status | UN.UO.73P7304B.PV | 1.2
DMW_Turbine_C_RPM | UN.UO.73SI3002.PV | 1785.626
Air_Compressor_Motor_B_Amperes | UN.UO.72II2001A.PV | 213.1187
Air_Compressor_Motor_C_Amperes | UN.UO.72II2002A.PV | -1.428
FDF_A_AMPS | UN.UO.71II1101A.PV | -0.53018
FDF_B_AMPS | UN.UO.71II1201A.PV | 0.017418
BFW_TO_LAO_raw | UN.LAO.39FI9002A.PV | 5297.349
DSP_BFW_TO_CAUSTIC_DILUTION_raw | UN.UO.75FC5026.PV | 22.9087
DSP_BFW_TO_BOILER_A | UN.UO.71FI1102.PV | 988.6
DSP_BFW_TO_BOILER_B | UN.UO.71FI1202.PV | 1175.8
DSP_BFW_TO_BOILER_C | UN.UO.71FI1302.PV | 1650.5
DSP_BFW_TO_BOILER_D | UN.UO.71FI1402.PV | 954.2
DSP_BFW_TO_BOILER_E | UN.UO.71FC1502.PV | 3587.2
BFW_TO_BOILER_A | UN.UO.71FC1103.PV | 63951.5
BFW_TO_BOILER_B | UN.UO.71FC1203.PV | 65566.1
BFW_TO_BOILER_C | UN.UO.71FI1303.PV | 61405.8
BFW_TO_BOILER_D | UN.UO.71FI1403.PV | 63955.4
BFW_TO_BOILER_E | UN.UO.71FC1503.PV | 60906.1
UO_HP_MP_Desuperheater2_opening_v1 | UN.UO.70PC0012B.MV | 40.4
Boiler_A_DSP_outlet_Temp | UN.UO.71TC1111.PV | 398.2
Boiler_A_DSP_outlet_Pressure | UN.UO.71PI1113.PV | 45.3
Boiler_B_DSP_outlet_Temp | UN.UO.71TC1211.PV | 390.6
Boiler_B_DSP_outlet_Pressure | UN.UO.71PI1213.PV | 45.1
Boiler_C_DSP_outlet_Temp | UN.UO.71TC1311.PV | 398.7
Boiler_C_DSP_outlet_Pressure | UN.UO.71PI1313.PV | 45.2
Boiler_D_DSP_outlet_Temp | UN.UO.71TC1411.PV | 392.4
Boiler_D_DSP_outlet_Pressure | UN.UO.71PI1413.PV | 45.2
Boiler_E_DSP_outlet_Temp | UN.UO.71TC1511.PV | 397.7
Boiler_E_DSP_outlet_Pressure | UN.UO.71PC1513.PV | 45.2
UO_HP_MP_Desuperheater1_water_opening | UN.UO.70TC0005.MV | 10.5
UO_MP_LP_letdown2_opening | UN.UO.70PC0013C.MV | 8.5
LP_steam_to_Deaerator_A_Temp | UN.UO.71TI1001.PV | 110.5
LP_steam_to_Deaerator_A_pressure | UN.UO.71PC1005.PV | 0.4
LP_steam_to_Deaerator_B_Temp | UN.UO.71TI1002.PV | 110
LP_steam_to_Deaerator_B_pressure | UN.UO.71PC1008.PV | 0.4
Furnace_A_steam_outlet_temp | UN.ETH.11TC1017A.PV | 46
Furnace_A_steam_outlet_pressure | UN.ETH.11PI1688A.PV | 2.4
Furnace_B_steam_outlet_temp | UN.ETH.11TC1017B.PV | 500.3
Furnace_B_steam_outlet_pressure | UN.ETH.11PI1688B.PV | 104.3
Furnace_C_steam_outlet_temp | UN.ETH.11TC1017C.PV | 500
Furnace_C_steam_outlet_pressure | UN.ETH.11PI1688C.PV | 104.2
Furnace_D_steam_outlet_temp | UN.ETH.11TC1017D.PV | 500
Furnace_D_steam_outlet_pressure | UN.ETH.11PI1688D.PV | 104.1
Furnace_E_steam_outlet_temp | UN.ETH.11TC1017E.PV | 500
Furnace_E_steam_outlet_pressure | UN.ETH.11PI1688E.PV | 104.3
Furnace_F_steam_outlet_temp | UN.ETH.11TC1017F.PV | 500
Furnace_F_steam_outlet_pressure | UN.ETH.11PI1688F.PV | 104.3
Furnace_G_steam_outlet_temp | UN.ETH.11TC1017G.PV | 500
Furnace_G_steam_outlet_pressure | UN.ETH.11PI1688G.PV | 104.4
Furnace_H_steam_outlet_temp | UN.ETH.11TC1017H.PV | 500
Furnace_H_steam_outlet_pressure | UN.ETH.11PI1688H.PV | 104.1
Furnace_J_steam_outlet_temp | UN.ETH.11TC1017J.PV | 500
Furnace_J_steam_outlet_pressure | UN.ETH.11PI1688J.PV | 104.7
Furnace_A_VHP_Desuperheater_water | UN.ETH.11FI1033A.PV | 0
Furnace_B_VHP_Desuperheater_water | UN.ETH.11FI1033B.PV | 3.6
Furnace_C_VHP_Desuperheater_water | UN.ETH.11FI1033C.PV | 7.2
Furnace_D_VHP_Desuperheater_water | UN.ETH.11FI1033D.PV | 4.8
Furnace_E_VHP_Desuperheater_water | UN.ETH.11FI1033E.PV | 4.3
Furnace_F_VHP_Desuperheater_water | UN.ETH.11FI1033F.PV | 5.4
Furnace_G_VHP_Desuperheater_water | UN.ETH.11FI1033G.PV | 4.2
Furnace_H_VHP_Desuperheater_water | UN.ETH.11FI1033H.PV | 6.4
Furnace_J_VHP_Desuperheater_water | UN.ETH.11FI1033J.PV | 2.2
ETH_VHP_HP_Desuperheater1_water_opening | UN.ETH.17TC7006.MV | 2
ETH_VHP_HP_Desuperheater2_opening | UN.ETH.17PC7024.MV | 7.2
ETH_VHP_HP_Desuperheater2_water_opening | UN.ETH.17TC7012.MV | 2.6
ETH_VHP_HP_Desuperheater1_outlet_temp | UN.ETH.17TC7006.PV | 262.1
ETH_VHP_HP_Desuperheater2_outlet_temp | UN.ETH.17TC7012.PV | 323.4
ETH_HP_steam_BL_Import_pressure | UN.ETH.17PC7121.PV | 39.8
ETH_HP_steam_BL_import_temp | UN.ETH.17TI7101.PV | 391.7
ETH_HP_steam_BL_Export_pressure | UN.ETH.17PC7120.PV | 44.8
ETH_HP_steam_BL_Export_temp | UN.ETH.17TI7102.PV | 385.7
ETH_HP_LP_Desuperheater_water_opening | UN.ETH.17TC7008.MV | 3.8
Ethane_feed_superheater_HP_steam_valve_opening | UN.ETH.11TC1004.MV | 37.5
CGC_turbine_Inlet_steam_pressure | UN.ETH.12PI2125.PV | 103.3
C2R_turbine_Inlet_steam_temp | UN.ETH.15TI5105.PV | 388.7
C2R_turbine_Inlet_steam_pressure | UN.ETH.15PI5029.PV | 43.5
C3R_turbine_Inlet_steam_temp | UN.ETH.16TI6006.PV | 389
C2R_turbine_outlet_steam_pressure | UN.ETH.16PI6028.PV | 5.2
C3R_turbine_outlet_steam_temp | UN.ETH.16TI6008.PV | 171.8
ETH_LP_steam_BL_pressure | UN.ETH.17PI7122.PV | 4.9
ETH_LP_steam_BL_temp | UN.ETH.17TI7103.PV | 256.3
ETH_LP_LLP_Desuperheater_water_opening | UN.ETH.17TC7100.MV | 0.3
Stored_ethylene_product_vaporiser_steam_Inlet_valve_opening | UN.ETH.15TC5101.MV | 3.1
EG1_HP_steam_BL_pressure | UN.EG1.29PI9201.PV | 2.8
EG1_HP_steam_BL_temp | UN.EG1.29TI9201.PV | 134.9
EG1_LP_steam_BL_pressure | UN.EG1.29PI9205.PV | 0.9
EG1_LP_steam_BL_temp | UN.EG1.29TI9203.PV | 81.8
EG1_HP_desuperheated_temp | UN.EG1.29TC9205.PV | 132.8
EG1_MP_desuperheated_temp | UN.EG1.29TC9207.PV | 96.4
EG1_HP_desuperheater_valve_opening | UN.EG1.29TC9205.MV | 0
EG1_MP_desuperheater_valve_opening | UN.EG1.29TC9207.MV | 0
EG1_LP_desuperheater_valve_opening | UN.EG1.29TC9209.MV | 0
EG1_EO_reactor1_HP_steam_generation | UN.EG1.21FI1361A.PV | 0.3
EG1_EO_reactor2_HP_steam_generation | UN.EG1.21FI1461A.PV | 0
EG1_Reactor1_steam_drum_HP_steam_generation | UN.EG1.21FC1107.PV | 0.1
EG1_Reactor2_steam_drum_HP_steam_generation | UN.EG1.21FC1207.PV | -0.1
EG2_HP_steam_BL_pressure | UN.EG2.49PI9201.PV | 0.1
EG2_HP_steam_BL_temp | UN.EG2.49TI9201.PV | 67
EG2_HP_desuperheated_temp | UN.EG2.49TC9205.PV | 46
EG2_HP_desuperheater_valve_opening | UN.EG2.49TC9205.MV | 0
EG2_MP_desuperheater_valve_opening | UN.EG2.49TC9207.MV | 0
EG2_LP_desuperheater_valve_opening | UN.EG2.49TC9209.MV | 92.9
EG2_EO_reactor1_HP_steam_generation | UN.EG2.41FI1361A.PV | 0
EG2_EO_reactor2_HP_steam_generation | UN.EG2.41FI1461A.PV | 0
EG2_Reactor1_steam_drum_HP_steam_generation | UN.EG2.41FC1107.PV | 0
EG2_Reactor2_steam_drum_HP_steam_generation | UN.EG2.41FC1207.PV | 0
EG3_HP_steam_BL_pressure | UN.EG3.69PI9201.PV | 44.7
EG3_HP_steam_BL_temp | UN.EG3.69TI9201.PV | 257.4
EG3_MP_steam_BL_temp | UN.EG3.69TI9208.PV | 303.3
EG3_LP_steam_BL_temp | UN.EG3.69TI9209.PV | 204.4
EG3_HP_desuperheated_temp | UN.EG3.69TC9202.PV | 258.3
EG3_HP_desuperheater_valve_opening | UN.EG3.69TV9202A.MV | 0
EG3_MP_desuperheater_valve_opening | UN.EG3.69TC9204.MV | 55.7
EG3_LP_desuperheater_valve_opening | UN.EG3.69TC9205.MV | 34.7
EG3_EO_reactor1_HP_steam_generation | UN.EG3.61FI1361.PV | 0
EG3_EO_reactor2_HP_steam_generation | UN.EG3.61FI1461.PV | 0
EG3_Reactor1_steam_drum_HP_steam_generation | UN.EG3.61FC1107.PV | -0.1
EG3_Reactor2_steam_drum_HP_steam_generation | UN.EG3.61FC1207.PV | -0.6
COOLING_WATER_PUMPS_C | UN.UO.78P7801C.PV | 0.5
COOLING_WATER_PUMPS_D | UN.UO.78P7801D.PV | 0.6
COOLING_WATER_PUMPS_E | UN.UO.78P7801E.PV | 0.6
COOLING_WATER_PUMPS_F | UN.UO.78P7801F.PV | 0
VHP_BFW_PUMP_A | UN.UO.71P7102A.PV | 0.9
BFW_PUMPS_A | UN.UO.71P7103A.PV | 1.5
BFW_PUMPS_D | UN.UO.71P7103D.PV | 1.9
BFW_PUMPS_F | UN.UO.71P7103F.PV | 1.3
FDF_MOTOR_A | UN.UO.71P7101A.PV | 0.5
FDF_MOTOR_B | UN.UO.71P7101B.PV | 1.5
EG1_strippin_column_Inlet_steam_flow | UN.EG1.23FC3215.PV | -0.9
EG2_strippin_column_Inlet_steam_flow | UN.EG2.43FC3215.PV | 0.1
BFW_to_Boilers_Desuperheating | UN.UO.71FI1022test | 26677.3
EG1_K_2115_Dis_presssure | UN.EG1.21PI1608.PV | 7.6
EG1_K_2115_Dis_temp | UN.EG1.21TI1603.PV | 25.6
EG1_K_2115_flow | UN.EG1.21FI1610.PV | -1.2
EG1_K_2115_suc_temp | UN.EG1.21TI1841B.PV | 25.4
EG2_K_4115_Dis_presssure | UN.EG2.41PI1608.PV | 1.1
EG2_K_4115_Dis_temp | UN.EG2.41TI1603.PV | 25.3
EG2_K_4115_flow | UN.EG2.41FI1610.PV | -0.6
EG2_K_4115_suc_presssure | UN.EG2.41PI1864B.PV | 1.1
EG2_K_4115_suc_temp | UN.EG2.41TI1841B.PV | 25.4
EG3_K_6115_Dis_presssure | UN.EG3.61PI1608.PV | 21.3
EG3_K_6115_Dis_temp | UN.EG3.61TI1603.PV | 46.4
EG3_K_6115_flow | UN.EG3.61FI1780.PV | 1407.5
EG3_K_6115_suc_presssure | UN.EG3.61PI1830.PV | 18.3
EG3_K_6115_suc_temp | UN.EG3.61TI1715.PV | 34.1
K_7202B_Dis_temp | UN.UO.72TI2017.PV | 38.3
K_7202B_suc_pressure | UN.UO.72PI2116A.PV | 0
K_7202B_suc_temp | UN.UO.72TI2053A.PV | 26.2
K_7202C_Dis_temp | UN.UO.72TI2009.PV | 27.8
K_7202C_suc_pressure | UN.UO.72PI2139A.PV | 0
K_7202C_suc_temp | UN.UO.72TI2076A.PV | 29.5
Boielr_A_Fuel_Gas_Flow | UN.UO.71FC1104.PV | 4549.573
Boielr_B_Fuel_Gas_Flow | UN.UO.71FC1204.PV | 4549.675
Boielr_C_Fuel_Gas_Flow | UN.UO.71FC1304.PV | 4549.645
Boielr_D_Fuel_Gas_Flow | UN.UO.71FC1404.PV | 4549.444
Boielr_E_Fuel_Gas_Flow | UN.UO.71FC1504.PV | 6041.557
EG1_Plant_load | UN.EG1.21FI1839.PV | 0
EG2_Plant_load | UN.EG2.41FI1839.PV | 0
EG3_Plant_load | UN.EG3.61FI1839.PV | 38.8
FUR_1_PASS_1_ETHANE_FEED | UN.ETH.11FC1162A.PV | 0
FUR_2_PASS_1_ETHANE_FEED | UN.ETH.11FC1162B.PV | 7.4
FUR_3_PASS_1_ETHANE_FEED | UN.ETH.11FC1162C.PV | 7.8
FUR_4_PASS_1_ETHANE_FEED | UN.ETH.11FC1162D.PV | 7.5
FUR_5_PASS_1_ETHANE_FEED | UN.ETH.11FC1162E.PV | 7.8
FUR_6_PASS_1_ETHANE_FEED | UN.ETH.11FC1162F.PV | 6.4
FUR_7_PASS_1_ETHANE_FEED | UN.ETH.11FC1162G.PV | 7.4
FUR_8_PASS_1_ETHANE_FEED | UN.ETH.11FC1162H.PV | 7.5
FUR_9_PASS_1_ETHANE_FEED | UN.ETH.11FC1162J.PV | 7.5
VHP_BFW_pump_Disc_Pressure | UN.UO.71PC1002.PV | 2
FUR_1_PASS_2_ETHANE_FEED | UN.ETH.11FC1262A.PV | 0
FUR_1_PASS_3_ETHANE_FEED | UN.ETH.11FC1362A.PV | 0
FUR_1_PASS_4_ETHANE_FEED | UN.ETH.11FC1462A.PV | 0
FUR_1_PASS_5_ETHANE_FEED | UN.ETH.11FC1562A.PV | 0
FUR_1_PASS_6_ETHANE_FEED | UN.ETH.11FC1662A.PV | 0
FUR_1_PASS_7_ETHANE_FEED | UN.ETH.11FC1762A.PV | 0
FUR_1_PASS_8_ETHANE_FEED | UN.ETH.11FC1862A.PV | 0
FUR_2_PASS_2_ETHANE_FEED | UN.ETH.11FC1262B.PV | 7.6
FUR_2_PASS_3_ETHANE_FEED | UN.ETH.11FC1362B.PV | 7.6
FUR_2_PASS_4_ETHANE_FEED | UN.ETH.11FC1462B.PV | 7.6
FUR_2_PASS_5_ETHANE_FEED | UN.ETH.11FC1562B.PV | 7.4
FUR_2_PASS_6_ETHANE_FEED | UN.ETH.11FC1662B.PV | 7.7
FUR_2_PASS_7_ETHANE_FEED | UN.ETH.11FC1762B.PV | 7.4
FUR_2_PASS_8_ETHANE_FEED | UN.ETH.11FC1862B.PV | 7.5
FUR_3_PASS_2_ETHANE_FEED | UN.ETH.11FC1262C.PV | 7.2
FUR_3_PASS_3_ETHANE_FEED | UN.ETH.11FC1362C.PV | 7.8
FUR_3_PASS_4_ETHANE_FEED | UN.ETH.11FC1462C.PV | 7.4
FUR_3_PASS_5_ETHANE_FEED | UN.ETH.11FC1562C.PV | 7.2
FUR_3_PASS_6_ETHANE_FEED | UN.ETH.11FC1662C.PV | 7.3
FUR_3_PASS_7_ETHANE_FEED | UN.ETH.11FC1762C.PV | 7.7
FUR_3_PASS_8_ETHANE_FEED | UN.ETH.11FC1862C.PV | 7.5
FUR_4_PASS_2_ETHANE_FEED | UN.ETH.11FC1262D.PV | 7.5
FUR_4_PASS_3_ETHANE_FEED | UN.ETH.11FC1362D.PV | 7.6
FUR_4_PASS_4_ETHANE_FEED | UN.ETH.11FC1462D.PV | 7.4
FUR_4_PASS_5_ETHANE_FEED | UN.ETH.11FC1562D.PV | 7.6
FUR_4_PASS_6_ETHANE_FEED | UN.ETH.11FC1662D.PV | 7.5
FUR_4_PASS_7_ETHANE_FEED | UN.ETH.11FC1762D.PV | 7.6
FUR_4_PASS_8_ETHANE_FEED | UN.ETH.11FC1862D.PV | 7.6
FUR_5_PASS_2_ETHANE_FEED | UN.ETH.11FC1262E.PV | 7.4
FUR_5_PASS_3_ETHANE_FEED | UN.ETH.11FC1362E.PV | 7.8
FUR_5_PASS_4_ETHANE_FEED | UN.ETH.11FC1462E.PV | 7.9
FUR_5_PASS_5_ETHANE_FEED | UN.ETH.11FC1562E.PV | 7.8
FUR_5_PASS_6_ETHANE_FEED | UN.ETH.11FC1662E.PV | 7.4
FUR_5_PASS_7_ETHANE_FEED | UN.ETH.11FC1762E.PV | 7
FUR_5_PASS_8_ETHANE_FEED | UN.ETH.11FC1862E.PV | 7.1
FUR_6_PASS_2_ETHANE_FEED | UN.ETH.11FC1262F.PV | 6.8
FUR_6_PASS_3_ETHANE_FEED | UN.ETH.11FC1362F.PV | 5.6
FUR_6_PASS_4_ETHANE_FEED | UN.ETH.11FC1462F.PV | 6.5
FUR_6_PASS_5_ETHANE_FEED | UN.ETH.11FC1562F.PV | 6.4
FUR_6_PASS_6_ETHANE_FEED | UN.ETH.11FC1662F.PV | 6.7
FUR_6_PASS_7_ETHANE_FEED | UN.ETH.11FC1762F.PV | 7.1
FUR_6_PASS_8_ETHANE_FEED | UN.ETH.11FC1862F.PV | 7.8
FUR_7_PASS_2_ETHANE_FEED | UN.ETH.11FC1262G.PV | 7.7
FUR_7_PASS_3_ETHANE_FEED | UN.ETH.11FC1362G.PV | 7.4
FUR_7_PASS_4_ETHANE_FEED | UN.ETH.11FC1462G.PV | 7.6
FUR_7_PASS_5_ETHANE_FEED | UN.ETH.11FC1562G.PV | 7.5
FUR_7_PASS_6_ETHANE_FEED | UN.ETH.11FC1662G.PV | 7.6
FUR_7_PASS_7_ETHANE_FEED | UN.ETH.11FC1762G.PV | 7.3
FUR_7_PASS_8_ETHANE_FEED | UN.ETH.11FC1862G.PV | 7.5
FUR_8_PASS_2_ETHANE_FEED | UN.ETH.11FC1262H.PV | 7.5
FUR_8_PASS_3_ETHANE_FEED | UN.ETH.11FC1362H.PV | 7.5
FUR_8_PASS_4_ETHANE_FEED | UN.ETH.11FC1462H.PV | 7.5
FUR_8_PASS_5ETHANE_FEED | UN.ETH.11FC1562H.PV | 7.5
FUR_8_PASS_6_ETHANE_FEED | UN.ETH.11FC1662H.PV | 7.6
FUR_8_PASS_7_ETHANE_FEED | UN.ETH.11FC1762H.PV | 7.6
FUR_8_PASS_8_ETHANE_FEED | UN.ETH.11FC1862H.PV | 7.4
FUR_9_PASS_2_ETHANE_FEED | UN.ETH.11FC1262J.PV | 7.5
FUR_9_PASS_3_ETHANE_FEED | UN.ETH.11FC1362J.PV | 7.5
FUR_9_PASS_4_ETHANE_FEED | UN.ETH.11FC1462J.PV | 7.5
FUR_9_PASS_5ETHANE_FEED | UN.ETH.11FC1562J.PV | 7.5
FUR_9_PASS_6_ETHANE_FEED | UN.ETH.11FC1662J.PV | 7.5
FUR_9_PASS_7_ETHANE_FEED | UN.ETH.11FC1762J.PV | 7.5
FUR_9_PASS_8_ETHANE_FEED | UN.ETH.11FC1862J.PV | 7.5
EG1_LP_steam_To_Condensate_FD | UN.EG1.22FV2208B.MV | 100
EG2_LP_steam_To_Condensate_FD | UN.EG2.42FV2208B.MV | 0
EG3_LP_steam_To_Condensate_FD | UN.EG3.69FC9208B.PV | 0
ETH_V_1732_Level_1 | UN.ETH.17LC7051.MV | 2.6
ETH_V_1732_Level_2 | UN.ETH.17LC7043.MV | 0
From_Utilities_to_cracker | UN.ETH.17FI7064A.PV | 1.5
LP_steam_BL_import_flow | UN.ETH.17FI7065.PV | 55
UN_UO_70PY0013A_MV | UN.UO.70PY0013A.MV | 0
Total_DMW_Demand_raw | UN.UO.73FC3001.PV | 221833
BFW_to_Boilers_pi | UN.UO.71FI1020.PV | 445641.6
EG1_EO_Reactor_Selectivity | UN.EG1.EO_Reactor_Selectivity_EO_CALC_OUTPUT | 0
EG2_EO_Reactor_Selectivity | UN.EG2.EO_Reactor_Selectivity_EO_CALC_OUTPUT | 0
EG3_EO_Reactor_Selectivity | UN.EG3.EO_Reactor_Selectivity_EO_CALC_OUTPUT | 0.9
Specific_Steam_Consumption_EG2 | UN.EG2.Specific_Steam_Consumption_Ethylene_Glycol_EO_CALC_OUTPUT | 0
Specific_Steam_Consumption_EG3 | UN.EG3.Specific_Steam_Consumption_Ethylene_Glycol_EO_CALC_OUTPUT | 1.4
LAO_Load_raw | UN.LAO.31FI1014A.PV | 14571.46
Total_BLR_HPS_Generation_ub | UN.UO.Total_BLR_HPS_Generation_Upper_Bound_EO_CALC_OUTPUT | 293.2
Ethylene_HP_Consumption_Calculated | UN.ETH.HP_Consumption_Calculated_EO_CALC_OUTPUT | 318.1354
LP_Steam_To_Stripping_Column_reboiler_Duty | UN.EG1.E-2310.Stripping_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | -1.1
LP_steam_to_E_2523_Duty | UN.EG1.E-2523.Ultimate_EG_Reactor_Feed_Preheater_Duty_PEEO_CALC_OUTPUT | 0.6
LP_steam_flow_to_C_2220_Duty | UN.EG1.C-2220.Regenerator_Direct_Steam_Duty_PEEO_CALC_OUTPUT | 0
LP_steam_to_E_2220_Duty | UN.EG1.E-2220.Regenerator_Reboiler_Duty_PEEO_CALC_OUTPUT | -0.2
EG1_first_effect_reboiler_Duty | UN.EG1.E-2531.Primary_Evaporator_Reboiler_Duty_PEEO_CALC_OUTPUT | -0.2
EG1_Drying_column_reboiler_Duty | UN.EG1.E-2610.Drying_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | 22.8
EG1_MEG_column_reboiler_Duty | UN.EG1.E-2620.MEG_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | -1.6
EG2_stripping_column_Duty | UN.EG2.C-4310.LP_Steam_To_Stripping_Column_Duty_PEEO_CALC_OUTPUT | 0.5
EG2_stripping_column_reboiler_Duty | UN.EG2.E-4310.Stripping_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | -1.1
EG2_MP_steam_pressure_act | UN.EG2.49PI9203.PV | 0.1
EG2_Recycle_Compressor_Current | UN.EG2.41II1815AB.PV | -0.2
EG2_Third_Stage_reactor_feed_heater_Duty | UN.EG2.E-4523.Ultimate_EG_Reactor_Feed_Preheater_Duty_PEEO_CALC_OUTPUT | 0
EG2_Regenerator_feed_flash_drum_Duty | UN.EG2.C-4220.Regenerator_Direct_Steam_Duty_PEEO_CALC_OUTPUT | 0
EG2_Regeneration_reboiler_Duty | UN.EG2.E-4220.Regenerator_Reboiler_Duty_PEEO_CALC_OUTPUT | 0.1
EG2_first_effect_reboiler_Duty | UN.EG2.E-4531.Primary_Evaporator_Reboiler_Duty_PEEO_CALC_OUTPUT | -1.1
EG2_Drying_column_reboiler_Duty | UN.EG2.E-4610.Drying_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | 0.7
EG2_MEG_column_reboiler_Duty | UN.EG2.E-4620.MEG_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | 0.2
EG3_Regeneration_reboiler_Duty | UN.EG3.E-6220.Regenerator_Reboiler_Duty_PEEO_CALC_OUTPUT | 54
EG3_first_effect_reboiler_Duty | UN.EG3.E-6531.Primary_Evaporator_Reboiler_Duty_PEEO_CALC_OUTPUT | 123.9
EG3_MEG_column_reboiler_Duty | UN.EG3.E-6620.MEG_Column_Reboiler_Duty_PEEO_CALC_OUTPUT | 84.8
Ethane_Feed_Saturator_Duty | UN.ETH.E-1102A.Saturator_Duty_PEEO_CALC_OUTPUT | 96.4
CGC_turbine_extraction_steam_pressure | UN.ETH.12PI2130.PV | 45.3
CGC_turbine_extraction_steam_temp | UN.ETH.12TI2103.PV | 393.2
Saturator_Tsat | UN.ETH.Saturation_Temperature_EO_CALC_OUTPUT | 149.9
Cooling_Water_Pump_Header_Pressure | UN.UO.78PI8357.PV | 6.3
Cooling_Water_Pump_A_Design_Discharge_flow | UN.UO.PT-7801A.KEV_Discharge_Flow_EO_CALC_OUTPUT | 31.2
Cooling_Water_Pump_B_Design_Discharge_flow | UN.UO.PT-7801B.KEV_Discharge_Flow_EO_CALC_OUTPUT | 31.2
Cooling_Water_Pump_G_Design_Discharge_flow | UN.UO.PT-7801G.KEV_Discharge_Flow_EO_CALC_OUTPUT | 31.2
EOEG_1_HPS_Demand_raw | UN.EG1.29FI9201.PV | 4.4127
EOEG_2_HPS_Demand_raw | UN.EG2.49FI9201.PV | 0
EOEG_3_HPS_Demand_raw | UN.EG3.69FI9201.PV | -0.0084
EOEG_1_MPS_Demand_raw | UN.EG1.29FI9202.PV | 19.6369
EOEG_2_MPS_Demand_raw | UN.EG2.49FI9202.PV | 0
EOEG_3_MPS_Demand_raw | UN.EG3.69FI9208.PV | 65.0297
EOEG_1_LPS_Demand_raw | UN.EG1.29FI9203.PV | -0.02723
EOEG_2_LPS_Demand_raw | UN.EG2.49FI9203.PV | 0.83325
EOEG_3_LPS_Demand_raw | UN.EG3.69FI9209.PV | 37.092
HP_to_MP_Let_Down_Valve_Opening_PC9207_EG3_raw | UN.EG3.69PV9207.MV | 0
DSP_BFW_TO_EG3_raw | UN.EG3.69FI9216.PV | 5.1484
BFW_to_EOEG_1_raw | UN.EG1.29FI9205.PV | 0.16865
BFW_to_EOEG_2_raw | UN.EG2.49FI9205.PV | 0.039063
DSP_BFW_TO_EG1_raw | UN.EG1.29FI9204.PV | 0.015099
DSP_BFW_TO_EG2_raw | UN.EG2.49FI9204.PV | 0.044862
Spec_En_Cons_BLR_1_raw | UN.UO.BO-7101A.Boiler_Specific_Energy_Consumption_In_Gj_PEEO_CALC_OUTPUT | 2.7
Spec_En_Cons_BLR_2_raw | UN.UO.BO-7101B.Boiler_Specific_Energy_Consumption_In_Gj_PEEO_CALC_OUTPUT | 2.6
Spec_En_Cons_BLR_3_raw | UN.UO.BO-7101C.Boiler_Specific_Energy_Consumption_In_Gj_PEEO_CALC_OUTPUT | 2.7
Spec_En_Cons_BLR_4_raw | UN.UO.BO-7101D.Boiler_Specific_Energy_Consumption_In_Gj_PEEO_CALC_OUTPUT | 2.6
Spec_En_Cons_BLR_5_raw | UN.UO.PK-7104E.Boiler_Specific_Energy_Consumption_In_Gj_PEEO_CALC_OUTPUT | 2.6
CW_intial_value | UN.UO.CW_Initial_Value_EO_CALC_OUTPUT | 3
H3831_outlet_temp | UN.LAO.38TIC8464.PV | 323.5
H3831_inlet_temp | UN.LAO.38TI8303.PV | 270.3
LP_Steam_Vent_valve_HV9208_Opening_EG3 | UN.EG3.69HC9208.MV | 0
MP_to_LP_Letdown_Valve_Opening_PV9206B_EG3 | UN.EG3.69PV9206B.MV | 30
AIR_COMPRESSOR_A_Venting_Opening | UN.UO.72FV2094.MV | 100
AIR_COMPRESSOR_B_Venting_Opening | UN.UO.72FV2117.MV | 14.7
AIR_COMPRESSOR_C_Venting_Opening | UN.UO.72FV2140.MV | 93.5
AIR_COMPRESSOR_D_Venting_Opening | UN.UO.72FV2163.MV | 42.1
H3831_target_duty | UN.LAO.H-3831.Hot_Oil_Heater_3831_Target_Duty_EO_CALC_OUTPUT | 128.4
ETH_LPS_Demand_raw | UN.UO.17FI7065 | 68.9853
DSP_BFW_TO_ETH_raw | UN.ETH.17FI7160.PV | 25.5139
FUEL_GAS_From_UO_to_ETH_raw | UN.ETH.17FI7161.PV | 9.9
Sea_Water_Conductivity | UN.UO.78AC8007.PV | 0.2
Bearing_Temperature_PM_7814A | UN.UO.78TI8776A.PV | 27.8
Bearing_Temperature_PM_7814B | UN.UO.78TI8776B.PV | 65.6
Bearing_Temperature_PM_7814C | UN.UO.78TI8776C.PV | 65.1
Spec_En_Cons_BLR_1_param | UN.UO.BO-7101A.Specific_Energy_Consumption_Parameter_EO_CALC_OUTPUT | 1
Spec_En_Cons_BLR_2_param | UN.UO.BO-7101B.Specific_Energy_Consumption_Parameter_EO_CALC_OUTPUT | 1
Spec_En_Cons_BLR_3_param | UN.UO.BO-7101C.Specific_Energy_Consumption_Parameter_EO_CALC_OUTPUT | 1
Spec_En_Cons_BLR_4_param | UN.UO.BO-7101D.Specific_Energy_Consumption_Parameter_EO_CALC_OUTPUT | 1
Spec_En_Cons_BLR_5_param | UN.UO.PK-7104E.Specific_Energy_Consumption_Parameter_EO_CALC_OUTPUT | 1
Spec_En_Cons_BLR_1_Opt | UN.UO.BO-7101A.Specific_Energy_Consumption_Optimum_EO_CALC_OUTPUT | 2.9373
Spec_En_Cons_BLR_2_Opt | UN.UO.BO-7101B.Specific_Energy_Consumption_Optimum_EO_CALC_OUTPUT | 2.9363
Spec_En_Cons_BLR_3_Opt | UN.UO.BO-7101C.Specific_Energy_Consumption_Optimum_EO_CALC_OUTPUT | 2.937
Spec_En_Cons_BLR_4_Opt | UN.UO.BO-7101D.Specific_Energy_Consumption_Optimum_EO_CALC_OUTPUT | 2.9357
Spec_En_Cons_BLR_5_Opt | UN.UO.PK-7104E.Specific_Energy_Consumption_Optimum_EO_CALC_OUTPUT | 2.9355
LHV_Raw_2 | UN.UO.BO-7101B.Boiler_Mixed_Lhv_Per_Kg_PEEO_CALC_OUTPUT | 9976.7
LHV_Raw_3 | UN.UO.BO-7101C.Boiler_Mixed_Lhv_Per_Kg_PEEO_CALC_OUTPUT | 9976.7
LHV_Raw_4 | UN.UO.BO-7101D.Boiler_Mixed_Lhv_Per_Kg_PEEO_CALC_OUTPUT | 9976.7
LHV_Raw_5 | UN.UO.PK-7104E.Boiler_Mixed_Lhv_Per_Kg_PEEO_CALC_OUTPUT | 9976.7
BFW_B_Turb_Steam_cons | UN.UO.PT-7103B.Turbine_Steam_Consumption_EO_CALC_OUTPUT | 12.9363
BFW_C_Turb_Steam_cons | UN.UO.PT-7103C.Turbine_Steam_Consumption_EO_CALC_OUTPUT | 16.3745
BFW_E_Turb_Steam_cons | UN.UO.PT-7103E.Turbine_Steam_Consumption_EO_CALC_OUTPUT | 13.9268
VHP_BFW_B_Turb_Steam_cons | UN.UO.PT-7102B.Turbine_Steam_Consumption_EO_CALC_OUTPUT | 32.1088
VHP_BFW_C_Turb_Steam_cons | UN.UO.PT-7102C.Turbine_Steam_Consumption_EO_CALC_OUTPUT | 30.6296
AC_A_Flow_To_Header_raw | UN.UO.72FI2001.PV | 17.5913
AC_B_Flow_To_Header_raw | UN.UO.72FI2002.PV | 10085.36
AC_C_Flow_To_Header_raw | UN.UO.72FI2003.PV | 19.739
AC_D_Flow_To_Header_raw | UN.UO.72FI2004.PV | 6273.428
Furnace_A_COT | UN.ETH.11TC1000A.PV | 25.5
Furnace_B_COT | UN.ETH.11TC1000B.PV | 861.9
Furnace_C_COT | UN.ETH.11TC1000C.PV | 860.1
Furnace_D_COT | UN.ETH.11TC1000D.PV | 865
Furnace_E_COT | UN.ETH.11TC1000E.PV | 865
Furnace_F_COT | UN.ETH.11TC1000F.PV | 841.9
Furnace_G_COT | UN.ETH.11TC1000G.PV | 869
Furnace_H_COT | UN.ETH.11TC1000H.PV | 862
Furnace_J_COT | UN.ETH.11TC1000J.PV | 862
Fur_1_mixed_feed_flow | UN.ETH.11FQI1162A.CPV | -0.1
Fur_2_mixed_feed_flow | UN.ETH.11FQI1162B.CPV | 60.3
Fur_3_mixed_feed_flow | UN.ETH.11FQI1162C.CPV | 60
Fur_4_mixed_feed_flow | UN.ETH.11FQI1162D.CPV | 60
Fur_5_mixed_feed_flow | UN.ETH.11FQI1162E.CPV | 60
Fur_6_mixed_feed_flow | UN.ETH.11FQI1162F.CPV | 53.2
Fur_7_mixed_feed_flow | UN.ETH.11FQI1162G.CPV | 60
Fur_8_mixed_feed_flow | UN.ETH.11FQI1162H.CPV | 60
Fur_9_mixed_feed_flow | UN.ETH.11FQI1162J.CPV | 60
Process_flow_of_E_1102_1 | UN.ETH.ETHANE_TOT.CPV | 142.1
Process_flow_of_E_1102_2 | UN.ETH.15FC5064.PV | 125.1
KM_2115_suc_Pressure | UN.EG1.21PI1864B.PV | 7.6
KM_2115_Dis_Pressure | UN.EG1.21PI1863B.PV | 7.6
KM_2115_Dis_Temp | UN.EG1.21TI1840B.PV | 24.6
KM_4115_Dis_Pressure | UN.EG2.41PI1863B.PV | 1.1
KM_4115_Dis_Temp | UN.EG2.41TI1840B.PV | 25
KM_6115_suc_Pressure | UN.EG3.61PI1835.PV | 18.3
EG1_temp_ratio | UN.EG1.Temperature_Ratio_EO_CALC_OUTPUT | 0
EG1_pr_ratio | UN.EG1.Pressure_Ratio_EO_CALC_OUTPUT | 0
EG1_avg_temp | UN.EG1.Average_Temperature_EO_CALC_OUTPUT | 0
EG2_pr_ratio | UN.EG2.Pressure_Ratio_EO_CALC_OUTPUT | 0
EG3_pr_ratio | UN.EG3.Pressure_Ratio_EO_CALC_OUTPUT | 1.2
K_5071_suc_temp | UN.UO.50TI0928.PV | 10
K_5071_suc_pressure | UN.UO.50PI0923A.PV | 13.5
K_5071_Dis_temp | UN.UO.50TI0923.PV | 107.7
K_5071_Dis_pressure | UN.UO.50PI0924.PV | 42.1
IGV_Opening | UN.UO.50HV0923.MV | 10.1
ASCV_Opening | UN.UO.50FV0924.MV | 52.4
CO2_Sale_flow | UN.UO.83FYI3001.PV | 1383
K_5021_suc_pressure | UN.UO.50PI0259B FAST | 0
K_5021_Dis_temp | UN.UO.50TI0260A.PV | 123.2
K_5021_Dis_pressure | UN.UO.50PI0256.PV | 16.5
Short_Eff_5021 | UN.CO2.PK-5020.Short_Efficiency_EO_CALC_OUTPUT | 23.1
Theoritical_Power_Consumption_5021 | UN.CO2.PK-5020.Theoretical_Power_Consumption_EO_CALC_OUTPUT | 2926.3
K_5071_Actual_Power_Adjusted | UN.CO2.PK-5070.Actual_Power_Consumption_Adjusted_EO_CALC_OUTPUT | 1.3
Actual_Power_Consumption_5021_Adjusted | UN.CO2.PK-5020.Actual_Power_Consumption_Adjusted_EO_CALC_OUTPUT | 3.1
Relative_Humidity_Clean | UN.UO.BO-7101A.Relative_Humidity_Clean_EO_CALC_OUTPUT | 0.6
Boiler_A_Air_Moisture | UN.UO.BO-7101A.Air_Moisture_EO_CALC_OUTPUT | 0
Boiler_A_Air_Cp_For_Sensible_Heat_Corrected | UN.UO.BO-7101A.Air_Cp_For_Sensible_Heat_Corrected_EO_CALC_OUTPUT | 0.2
Boiler_A_Heat_Loss_Due_To_Dry_Flue_Gas_L1 | UN.UO.BO-7101A.Heat_Loss_Due_To_Dry_Flue_Gas_L1_EO_CALC_OUTPUT | 459.2
Boiler_A_Total_Boiler_Stack_Loss_Per_Kg_Fuel | UN.UO.BO-7101A.Total_Boiler_Stack_Loss_Per_Kg_Fuel_EO_CALC_OUTPUT | 557.3
Boiler_A_Total_Heat_Loss_Per_Kg_Of_Fuel | UN.UO.BO-7101A.Total_Heat_Loss_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 614.7
Boiler_A_Total_Heat_Absorbed_Per_Kg_Of_Fuel | UN.UO.BO-7101A.Total_Heat_Absorbed_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 9426.1
Boiler_B_Air_Moisture | UN.UO.BO-7101B.Air_Moisture_EO_CALC_OUTPUT | 0
Boiler_B_Air_Cp_For_Sensible_Heat_Corrected | UN.UO.BO-7101B.Air_Cp_For_Sensible_Heat_Corrected_EO_CALC_OUTPUT | 0.2
Boiler_B_Heat_Loss_Due_To_Dry_Flue_Gas_L1 | UN.UO.BO-7101B.Heat_Loss_Due_To_Dry_Flue_Gas_L1_EO_CALC_OUTPUT | 458.6
Boiler_B_Total_Boiler_Stack_Loss_Per_Kg_Fuel | UN.UO.BO-7101B.Total_Boiler_Stack_Loss_Per_Kg_Fuel_EO_CALC_OUTPUT | 556.3
Boiler_B_Total_Heat_Loss_Per_Kg_Of_Fuel | UN.UO.BO-7101B.Total_Heat_Loss_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 611.2
Boiler_B_Total_Heat_Absorbed_Per_Kg_Of_Fuel | UN.UO.BO-7101B.Total_Heat_Absorbed_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 9432.2
Boiler_C_Air_Moisture | UN.UO.BO-7101C.Air_Moisture_EO_CALC_OUTPUT | 0
Boiler_C_Air_Cp_For_Sensible_Heat_Corrected | UN.UO.BO-7101C.Air_Cp_For_Sensible_Heat_Corrected_EO_CALC_OUTPUT | 0.2
Boiler_C_Heat_Loss_Due_To_Dry_Flue_Gas_L1 | UN.UO.BO-7101C.Heat_Loss_Due_To_Dry_Flue_Gas_L1_EO_CALC_OUTPUT | 457.7
Boiler_C_Total_Boiler_Stack_Loss_Per_Kg_Fuel | UN.UO.BO-7101C.Total_Boiler_Stack_Loss_Per_Kg_Fuel_EO_CALC_OUTPUT | 556.5
Boiler_C_Total_Heat_Loss_Per_Kg_Of_Fuel | UN.UO.BO-7101C.Total_Heat_Loss_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 613.4
Boiler_C_Total_Heat_Absorbed_Per_Kg_Of_Fuel | UN.UO.BO-7101C.Total_Heat_Absorbed_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 9428.7
Boiler_D_Air_Moisture | UN.UO.BO-7101D.Air_Moisture_EO_CALC_OUTPUT | 0
Boiler_D_Air_Cp_For_Sensible_Heat_Corrected | UN.UO.BO-7101D.Air_Cp_For_Sensible_Heat_Corrected_EO_CALC_OUTPUT | 0.2
Boiler_D_Heat_Loss_Due_To_Dry_Flue_Gas_L1 | UN.UO.BO-7101D.Heat_Loss_Due_To_Dry_Flue_Gas_L1_EO_CALC_OUTPUT | 445.7
Boiler_D_Total_Boiler_Stack_Loss_Per_Kg_Fuel | UN.UO.BO-7101D.Total_Boiler_Stack_Loss_Per_Kg_Fuel_EO_CALC_OUTPUT | 540.9
Boiler_D_Total_Heat_Loss_Per_Kg_Of_Fuel | UN.UO.BO-7101D.Total_Heat_Loss_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 595.8
Boiler_D_Total_Heat_Absorbed_Per_Kg_Of_Fuel | UN.UO.BO-7101D.Total_Heat_Absorbed_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 9423.8
Boiler_E_Air_Moisture | UN.UO.PK-7104E.Air_Moisture_EO_CALC_OUTPUT | 0
Boiler_E_Air_Cp_For_Sensible_Heat_Corrected | UN.UO.PK-7104E.Air_Cp_For_Sensible_Heat_Corrected_EO_CALC_OUTPUT | 0.2
Boiler_E_Heat_Loss_Due_To_Dry_Flue_Gas_L1 | UN.UO.PK-7104E.Heat_Loss_Due_To_Dry_Flue_Gas_L1_EO_CALC_OUTPUT | 460.8
Boiler_E_Total_Boiler_Stack_Loss_Per_Kg_Fuel | UN.UO.PK-7104E.Total_Boiler_Stack_Loss_Per_Kg_Fuel_EO_CALC_OUTPUT | 570.5
Boiler_E_Total_Heat_Loss_Per_Kg_Of_Fuel | UN.UO.PK-7104E.Total_Heat_Loss_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 622.2
Boiler_E_Total_Heat_Absorbed_Per_Kg_Of_Fuel | UN.UO.PK-7104E.Total_Heat_Absorbed_Per_Kg_Of_Fuel_EO_CALC_OUTPUT | 9487
var_Sea_Water_Conductivity | UN.UO.Sea_Water_Conductivity_EO_CALC_OUTPUT | 0.2
CW_C_Cost | UN.UO.P-7801C.Cost_EO_CALC_OUTPUT | 110.2
CW_D_Cost | UN.UO.P-7801D.Cost_EO_CALC_OUTPUT | 110.2
CW_E_Cost | UN.UO.P-7801E.Cost_EO_CALC_OUTPUT | 110.2
CW_F_Cost | UN.UO.P-7801F.Cost_EO_CALC_OUTPUT | 110.2
UO_Power_Without_Drives_Cost | UN.UO.Utility_Power_Without_Drives_Cost_EO_CALC_OUTPUT | 2159.5
Boiler_1_Fuel_Cost | UN.UO.BO-7101A.Fuel_Cost_EO_CALC_OUTPUT | 338.5
Boiler_2_Fuel_Cost | UN.UO.BO-7101B.Fuel_Cost_EO_CALC_OUTPUT | 338.4
Boiler_3_Fuel_Cost | UN.UO.BO-7101C.Fuel_Cost_EO_CALC_OUTPUT | 337.9
Boiler_4_Fuel_Cost | UN.UO.BO-7101D.Fuel_Cost_EO_CALC_OUTPUT | 338.4
Boiler_5_Fuel_Cost | UN.UO.PK-7104E.Fuel_Cost_EO_CALC_OUTPUT | 346.7
Flare_Fuel_Cost | UN.UO.Flare_Fuel_Cost_EO_CALC_OUTPUT | 0
EG1_NG_Fuel_Cost | UN.EG1.Natural_Gas_Fuel_Cost_EO_CALC_OUTPUT | 0
LAO_Fuel_Cost | UN.LAO.Fuel_Cost_EO_CALC_OUTPUT | 251.9
Regenerator_C_2220_Bottom_Temp | UN.EG1.22TI2211.PV | 26.1
Fractional_Conversion_Bicarbonate_C_2220 | UN.EG1.C-2220.Fractional_Conversion_Bicarbonate_PEEO_CALC_OUTPUT | 100.1
Stripper_Column_C_2310_Top_Temp | UN.EG1.23TI3206.PV | 24.2
Cycle_Water_Bleed_Eo_EG1 | UN.LIMS.UN-EG1-3R-2301_Ethylene Oxide | 3.7
C2310_Bottom_Pressure | UN.EG1.23PI3210.PV | 0.1
Glycol_Reactor_R_2520_Inlet | UN.EG1.25TC5305.PV | 25.4
Reactor_Outlet_R_2520_Leg_Temp_Delta | UN.EG1.R-2520.Reactor_Outlet_Differential_Temperature_PEEO_CALC_OUTPUT | -1.2
Recycle_Water_Tank_Meg_EG1 | UN.LIMS.UN-EG1-1R-2502_MEG | 0.3
Treated_Water_To_1st_Effect_Evaporator_C_2531 | UN.EG1.25FC5516.PV | 0
Treated_Water_To_2nd_Effect_Evaporator_C_2532 | UN.EG1.25FC5526.PV | 0
Treated_Water_To_3rd_Effect_Evaporator_C_2533 | UN.EG1.25FC5536.PV | 0
Treated_Water_To_4th_Effect_Evaporator_C_2534 | UN.EG1.25FC5546.PV | 0
Treated_Water_To_5th_Effect_Evaporator_C_2535 | UN.EG1.25FC5556.PV | 0
5th_Effect_Evaporator_C_2535_Overhead_Pressure | UN.EG1.25PC5551.PV | 0.1
Chest_Pressure_E_2620 | UN.EG1.26PI6343A.PV | -0.3
Chest_Pressure_E_2610 | UN.EG1.26PI6240.PV | 0.7
Regenerator_C_4220_Bottom_Temp | UN.EG2.42TI2211.PV | 24.7
Fractional_Conversion_Bicarbonate_C_4220 | UN.EG2.C-4220.Fractional_Conversion_Bicarbonate_PEEO_CALC_OUTPUT | 0
Stripper_Column_C_4310_Top_Temp | UN.EG2.43TI3206.PV | 24
Cycle_Water_Bleed_Eo_EG2 | UN.LIMS.UN-EG2-3R-4301_Ethylene Oxide | 9
C4310_Bottom_Pressure | UN.EG2.43PI3210.PV | 0.4
Glycol_Reactor_R_4520_Inlet | UN.EG2.45TC5305.PV | 26.9
Reactor_Outlet_R_4520_Leg_Temp_Delta | UN.EG2.R-4520.Reactor_Outlet_Differential_Temperature_PEEO_CALC_OUTPUT | 0
Recycle_Water_Tank_Meg_EG2 | UN.LIMS.UN-EG2-1R-4502_MEG | 0.3
Treated_Water_To_1st_Effect_Evaporator_C_4531 | UN.EG2.45FC5516.PV | 0
Treated_Water_To_2nd_Effect_Evaporator_C_4532 | UN.EG2.45FC5526.PV | 0
Treated_Water_To_3rd_Effect_Evaporator_C_4533 | UN.EG2.45FC5536.PV | 0
Treated_Water_To_4th_Effect_Evaporator_C_4534 | UN.EG2.45FC5546.PV | 0
Treated_Water_To_5th_Effect_Evaporator_C_4535 | UN.EG2.45FC5556.PV | 0
5th_Effect_Evaporator_C_4535_Overhead_Pressure | UN.EG2.45PC5551.PV | 0.3
Chest_Pressure_E_4620 | UN.EG2.46PI6343A.PV | 9.1
Chest_Pressure_E_4610 | UN.EG2.46PI6240.PV | 1
Regenerator_C_6220_Bottom_Temp | UN.EG3.62TI2211.PV | 111.1
Fractional_Conversion_Bicarbonate_C_6220 | UN.EG3.C-6220.Fractional_Conversion_Bicarbonate_PEEO_CALC_OUTPUT | 24.5
Recycle_Water_Tank_Meg_EG3 | UN.LIMS.UN-EG3-1R-6502_MEG | 0.1
Treated_Water_To_1st_Effect_Evaporator_C_6531 | UN.EG3.65FC5516.PV | 3.5
Treated_Water_To_2nd_Effect_Evaporator_C_6532 | UN.EG3.65FC5526.PV | 3
Treated_Water_To_3rd_Effect_Evaporator_C_6533 | UN.EG3.65FC5536.PV | 2.8
Treated_Water_To_4th_Effect_Evaporator_C_6534 | UN.EG3.65FC5546.PV | 3
Treated_Water_To_5th_Effect_Evaporator_C_6535 | UN.EG3.65FC5556.PV | 2.5
Treated_Water_To_6th_Effect_Evaporator_C_6536 | UN.EG3.65FC5578.PV | 2.5
Treated_Water_To_7th_Effect_Evaporator_C_6537 | UN.EG3.65FC5605.PV | 3.3
7th_Effect_Evaporator_C_6537_Overhead_Pressure | UN.EG3.65PC5641.PV | 1.2
Chest_Pressure_E_6620 | UN.EG3.66PI6343.PV | 1.6
Power_to_EG_3_Adjusted | UN.EG3.Power_to_EG_Adjusted_EO_CALC_OUTPUT | 24
Interstage_Cooler_1_Outlet_Temperature | UN.UO.50TI0254.PV | 47.9
Interstage_Cooler_2_Outlet_Temperature | UN.UO.50TI0256.PV | 55.9
Interstage_Cooler_3_Outlet_Temperature | UN.UO.50TI0259.PV | 67
CGC_Discharge_Press_5Stage | UN.ETH.12PI2122.PV | 31.3
CGC_Turbine_exhaust_pressure | UN.ETH.KT-1200.Turbine_Exhaust_Pressure_PEEO_CALC_OUTPUT | 0.1
CGC_Quench_overhead_temp | UN.ETH.11TI1904.PV | 35.9
CGC_VHP_letdown_controller_opening_new | UN.ETH.KT-1200.Vhp_Letdown_Controller_Opening_New_PEEO_CALC_OUTPUT | 10
CO2_comp_5020_KEV_Process_OUTELET_TEMP_1 | UN.CO2.PK-5020.KEV_Process_OUTELET_TEMP_1_EO_CALC_OUTPUT | 47.3154
CO2_comp_5020_KEV_Process_OUTELET_TEMP_2 | UN.CO2.PK-5020.KEV_Process_OUTELET_TEMP_2_EO_CALC_OUTPUT | 54.9374
CO2_comp_5020_KEV_Process_OUTELET_TEMP_3 | UN.CO2.PK-5020.KEV_Process_OUTELET_TEMP_3_EO_CALC_OUTPUT | 66.0483
Temp_Ratio_5071 | UN.CO2.PK-5070.KEV_Temperature_Ratio_EO_CALC_OUTPUT | 1.3448
C2_splitter_top_analyzer_C2H6 | UN.ETH.15AI5080C.PV | 18.2
C2_splitter_reflux_controller_opening | UN.ETH.15FC5060.MV | 71.3
C2_splitter_control_tray_temperature_controller_opening | UN.ETH.15LC5041.MV | 73
C2_splitter_control_tray_temperature | UN.ETH.15TC5002.PV | -56.8
Ethylene_surge_drum_vent_to_CGC_5Th_stage_controller_opening | UN.ETH.15HC5296.MV | 2.9
C2_compressor_RPM | UN.ETH.15SI5802A.PV | 4486.6
Fuel_gas_drum_pressure | UN.ETH.12PC2228.PV | 4.2
E_1402_level | UN.ETH.14LC4042.PV | 50.5
C2R_governer_opening | UN.ETH.15XY5892A_B.PV | 98
E_1307_level | UN.ETH.13LC3044.PV | 50
E_1308_level | UN.ETH.13LC3045.PV | 50
E_1309_level | UN.ETH.13LC3046.PV | 45
E_1310_level | UN.ETH.13LC3047.PV | 60.1
C2_compressor_suction_pressure | UN.ETH.15PI5031.PV | 3.1
Ethylene_in_tail_gas | UN.ETH.14AI4083.PV | 0.2
Ethylene_in_recycle_ethane | UN.ETH.15AI5081A.PV | 0.2
C3_compressor_RPM | UN.ETH.16SI6802A.PV | 3198.7
C3R_governer_opening | UN.ETH.16XY6892A_B.PV | 66.8
C3_compressor_suction_pressure | UN.ETH.16PI6023.PV | 0.3
C3R_surface_condenser_level_controller_opening | UN.ETH.16LC6044.MV | 37.9
C2R_inlet_T | UN.ETH.15TI5004.PV | -76.6
C2R_dis_Pr_1 | UN.ETH.15PI5022.PV | 11.4
C2R_outlet1_T | UN.ETH.15TI5005.PV | -2.3
C2R_dis_Pr_2 | UN.ETH.15PI5023.PV | 16.9
KT_1500_pressure_out | UN.ETH.15PI5125.PV | 1004.6
C3R_Exhaust_pressure | UN.ETH.16PI6120C.PV | 112.2
K_7201A_3rd_Stage_Disch_pressure | UN.UO.72PC2094.PV | 0
K_7201B_3rd_Stage_Disch_pressure | UN.UO.72PC2117.PV | 8
K_7201C_3rd_Stage_Disch_pressure | UN.UO.72PC2140.PV | 0
K_7201D_3rd_Stage_Disch_pressure | UN.UO.72PC2163.PV | 8
CGC_Interstage_DP_1Stage | UN.ETH.K-1200.Interstage_Pressure_Drop_Stage_1_PEEO_CALC_OUTPUT | 0.3
CGC_Interstage_DP_2Stage | UN.ETH.K-1200.Interstage_Pressure_Drop_Stage_2_PEEO_CALC_OUTPUT | 0.3
CGC_Interstage_DP_3Stage | UN.ETH.K-1200.Interstage_Pressure_Drop_Stage_3_PEEO_CALC_OUTPUT | 0.3
EG2_Extraction_steam_from_5th_effect_evaporator_to_6th_effect_reboiler | UN.EG2.45FC5565.PV | 14.5
EG1_Extraction_steam_from_5th_effect_evaporator_to_6th_effect_reboiler | UN.EG1.25FC5565.PV | 7.2
EG3_8th_effect_reboiler_extraction_steam_inlet | UN.EG3.65FC5601.PV | 17.5
Eth_saturator_Blowdown_flow | UN.ETH.11FC1915.PV | 32.1
Eth_ethylene_flow_C2_splitter_reflux | UN.ETH.15FC5060.PV | 430.1
Total_Air_to_Header | UN.UO.Total_Air_To_Header_EO_CALC_OUTPUT | 16.8
Total_treated_water_EG3 | UN.EG3.UN01-03-REA02.Total_Reflux_To_Evaporators_PEEO_CALC_OUTPUT | 20.5
UNITED_LIMS_CBD_A_PH | UN.Lims.UN-UO-V-7105A_pH | 10.4
UNITED_LIMS_CBD_B_PH | UN.Lims.UN-UO-V-7105B_pH | 10.2
UNITED_LIMS_CBD_C_PH | UN.Lims.UN-UO-V-7105C_pH | 10.2
UNITED_LIMS_CBD_D_PH | UN.Lims.UN-UO-V-7105D_pH | 10.2
UNITED_LIMS_CBD_E_PH | UN.Lims.UN-UO-V-7105E_pH | 10.3
Suction_Press_1Stage | UN.ETH.12PI2030.PV | 0.5
TQE_Outlet_Pressure_Furnace_A | UN.ETH.11PI1051A.PV | 0
TQE_Outlet_Pressure_Furnace_B | UN.ETH.11PI1051B.PV | 0.6
TQE_Outlet_Pressure_Furnace_C | UN.ETH.11PI1051C.PV | 0.6
TQE_Outlet_Pressure_Furnace_D | UN.ETH.11PI1051D.PV | 0.6
TQE_Outlet_Pressure_Furnace_E | UN.ETH.11PI1051E.PV | 0.6
TQE_Outlet_Pressure_Furnace_F | UN.ETH.11PI1051F.PV | 0.6
TQE_Outlet_Pressure_Furnace_G | UN.ETH.11PI1051G.PV | 0.6
TQE_Outlet_Pressure_Furnace_H | UN.ETH.11PI1051H.PV | 0.6
TQE_Outlet_Pressure_Furnace_J | UN.ETH.11PI1051J.PV | 0.7
FUR_1_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084A.PV | 0
FUR_2_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084B.PV | 1.3
FUR_3_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084C.PV | 0.8
FUR_4_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084D.PV | 0.6
FUR_5_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084E.PV | 0.8
FUR_6_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084F.PV | 0.6
FUR_7_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084G.PV | 0.7
FUR_8_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084H.PV | 0.9
FUR_9_ETHANE_TRIP_VALVE | UN.ETH.11XZL1084J.PV | 0.9
Pass8_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AH.PV | 0
Pass7_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AG.PV | 0
Pass6_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AF.PV | 0
Pass5_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AE.PV | 0
Pass4_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AD.PV | 0
Pass3_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AC.PV | 0
Pass2_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AB.PV | 0
Pass1_Mixed_Feed_Pressure_Furnace_A | UN.ETH.11PI1586AA.PV | 0
Pass8_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BH.PV | 3.9
Pass7_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BG.PV | 4.2
Pass6_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BF.PV | 4.2
Pass5_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BE.PV | 4.4
Pass4_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BD.PV | 4
Pass3_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BC.PV | 4
Pass2_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BB.PV | 4
Pass1_Mixed_Feed_Pressure_Furnace_B | UN.ETH.11PI1586BA.PV | 3.9
Pass8_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CH.PV | 4.1
Pass7_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CG.PV | 4.7
Pass6_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CF.PV | 5.1
Pass5_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CE.PV | 5.1
Pass4_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CD.PV | 5.1
Pass3_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CC.PV | 4.7
Pass2_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CB.PV | 5.1
Pass1_Mixed_Feed_Pressure_Furnace_C | UN.ETH.11PI1586CA.PV | 4.7
Pass8_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DH.PV | 4.1
Pass7_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DG.PV | 4.2
Pass6_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DF.PV | 4.2
Pass5_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DE.PV | 4.3
Pass4_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DD.PV | 4.1
Pass3_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DC.PV | 4.2
Pass2_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DB.PV | 4.1
Pass1_Mixed_Feed_Pressure_Furnace_D | UN.ETH.11PI1586DA.PV | 4.1
Pass8_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EH.PV | 4.8
Pass7_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EG.PV | 4.8
Pass6_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EF.PV | 4.8
Pass5_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EE.PV | 4.5
Pass4_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586ED.PV | 4.7
Pass3_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EC.PV | 4.3
Pass2_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EB.PV | 4.7
Pass1_Mixed_Feed_Pressure_Furnace_E | UN.ETH.11PI1586EA.PV | 4.1
Pass8_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FH.PV | 4.9
Pass7_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FG.PV | 5
Pass6_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FF.PV | 5
Pass5_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FE.PV | 5
Pass4_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FD.PV | 5
Pass3_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FC.PV | 5
Pass2_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FB.PV | 5
Pass1_Mixed_Feed_Pressure_Furnace_F | UN.ETH.11PI1586FA.PV | 5
Pass8_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GH.PV | 4
Pass7_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GG.PV | 3.9
Pass6_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GF.PV | 4.1
Pass5_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GE.PV | 4
Pass4_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GD.PV | 4.1
Pass3_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GC.PV | 4
Pass2_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GB.PV | 4.1
Pass1_Mixed_Feed_Pressure_Furnace_G | UN.ETH.11PI1586GA.PV | 3.9
Pass8_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HH.PV | 4.5
Pass7_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HG.PV | 4.1
Pass6_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HF.PV | 4.5
Pass5_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HE.PV | 4.2
Pass4_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HD.PV | 4.7
Pass3_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HC.PV | 4.1
Pass2_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HB.PV | 4.6
Pass1_Mixed_Feed_Pressure_Furnace_H | UN.ETH.11PI1586HA.PV | 4.2
Pass7_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JG.PV | 4.1
Pass6_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JF.PV | 4.2
Pass5_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JE.PV | 4.1
Pass4_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JD.PV | 4.2
Pass3_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JC.PV | 4.2
Pass2_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JB.PV | 4.1
Pass1_Mixed_Feed_Pressure_Furnace_J | UN.ETH.11PI1586JA.PV | 4
Mixed_Feed_MOV_Opening_Furnace_A | UN.ETH.11HC1085A.MV | 0
Mixed_Feed_MOV_Opening_Furnace_B | UN.ETH.11HC1085B.MV | 81.8
Mixed_Feed_MOV_Opening_Furnace_C | UN.ETH.11HC1085C.MV | 93.2
Mixed_Feed_MOV_Opening_Furnace_D | UN.ETH.11HC1085D.MV | 82.7
Mixed_Feed_MOV_Opening_Furnace_E | UN.ETH.11HC1085E.MV | 85.4
Mixed_Feed_MOV_Opening_Furnace_F | UN.ETH.11HC1085F.MV | 86.9
Mixed_Feed_MOV_Opening_Furnace_G | UN.ETH.11HC1085G.MV | 96.7
Mixed_Feed_MOV_Opening_Furnace_H | UN.ETH.11HC1085H.MV | 96.1
Mixed_Feed_MOV_Opening_Furnace_J | UN.ETH.11HC1085J.MV | 96.1
Pass8_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1861A.PV | 0.1
Pass7_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1761A.PV | 0
Pass6_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1661A.PV | 0.1
Pass5_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1561A.PV | 0
Pass4_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1461A.PV | 0
Pass3_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1361A.PV | 0
Pass2_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1261A.PV | 0
Pass1_Decoke_Air_Flow_Furnace_A | UN.ETH.11FC1161A.PV | 0
Pass8_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1861B.PV | 0
Pass7_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1761B.PV | 0
Pass6_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1661B.PV | 0
Pass5_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1561B.PV | 0
Pass4_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1461B.PV | 0.1
Pass3_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1361B.PV | 0
Pass2_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1261B.PV | 0
Pass1_Decoke_Air_Flow_Furnace_B | UN.ETH.11FC1161B.PV | 0
Pass8_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1861C.PV | 0
Pass7_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1761C.PV | 0
Pass6_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1661C.PV | 0
Pass5_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1561C.PV | 0
Pass4_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1461C.PV | 0
Pass3_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1361C.PV | 0
Pass2_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1261C.PV | 0
Pass1_Decoke_Air_Flow_Furnace_C | UN.ETH.11FC1161C.PV | 0.1
Pass8_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1861D.PV | 0
Pass7_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1761D.PV | 0.1
Pass6_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1661D.PV | 0
Pass5_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1561D.PV | 0
Pass4_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1461D.PV | 0.1
Pass3_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1361D.PV | 0
Pass2_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1261D.PV | 0
Pass1_Decoke_Air_Flow_Furnace_D | UN.ETH.11FC1161D.PV | 0
Pass8_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1861E.PV | 0
Pass7_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1761E.PV | 0.1
Pass6_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1661E.PV | 0
Pass5_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1561E.PV | 0
Pass4_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1461E.PV | 0
Pass3_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1361E.PV | 0
Pass2_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1261E.PV | 0
Pass1_Decoke_Air_Flow_Furnace_E | UN.ETH.11FC1161E.PV | 0
Pass8_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1861F.PV | 0.1
Pass7_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1761F.PV | 0
Pass6_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1661F.PV | 0
Pass5_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1561F.PV | 0
Pass4_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1461F.PV | 0.1
Pass3_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1361F.PV | 0
Pass2_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1261F.PV | 0
Pass8_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1861G.PV | 0
Pass7_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1761G.PV | 0
Pass6_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1661G.PV | 0.1
Pass5_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1561G.PV | 0.1
Pass4_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1461G.PV | 0
Pass3_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1361G.PV | 0
Pass2_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1261G.PV | 0.1
Pass1_Decoke_Air_Flow_Furnace_G | UN.ETH.11FC1161G.PV | 0
Pass8_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1861H.PV | 0
Pass7_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1761H.PV | 0
Pass6_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1661H.PV | 0
Pass5_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1561H.PV | 0.1
Pass4_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1461H.PV | 0.1
Pass3_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1361H.PV | 0
Pass2_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1261H.PV | 0
Pass1_Decoke_Air_Flow_Furnace_H | UN.ETH.11FC1161H.PV | 0.1
Pass8_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1861J.PV | 0
Pass7_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1761J.PV | 0
Pass6_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1661J.PV | 0
Pass5_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1561J.PV | 0
Pass4_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1461J.PV | 0
Pass3_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1361J.PV | 0
Pass2_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1261J.PV | 0
Pass1_Decoke_Air_Flow_Furnace_J | UN.ETH.11FC1161J.PV | 0
Decoke_Air_Pressure_Furnace_A | UN.ETH.11PI1045A.PV | 0
Decoke_Air_Pressure_Furnace_B | UN.ETH.11PI1045B.PV | 0
Decoke_Air_Pressure_Furnace_C | UN.ETH.11PI1045C.PV | 0
Decoke_Air_Pressure_Furnace_D | UN.ETH.11PI1045D.PV | 0
Decoke_Air_Pressure_Furnace_E | UN.ETH.11PI1045E.PV | 0
Decoke_Air_Pressure_Furnace_F | UN.ETH.11PI1045F.PV | 0
Decoke_Air_Pressure_Furnace_G | UN.ETH.11PI1045G.PV | 0
Decoke_Air_Pressure_Furnace_H | UN.ETH.11PI1045H.PV | 0
Decoke_Air_Pressure_Furnace_J | UN.ETH.11PI1045J.PV | 0
Pass1_Decoke_Air_Flow_Furnace_F | UN.ETH.11FC1161F.PV | 0
Sea_CT_Fan_8028 | UN.UO.78XL8028.PV | 0.3
Sea_CT_Fan_8029 | UN.UO.78XL8029.PV | 0.3
Sea_CT_Fan_8030 | UN.UO.78XL8030.PV | 0.3
Sea_CT_Fan_8031 | UN.UO.78XL8031.PV | 0.3
Sea_CT_Fan_8032 | UN.UO.78XL8032.PV | 0.3
Sea_CT_Fan_8033 | UN.UO.78XL8033.PV | 0.3
Sea_CT_Fan_8034 | UN.UO.78XL8034.PV | 0.4
Sea_CT_Fan_8035 | UN.UO.78XL8035.PV | 0.4
Sea_CT_Fan_8036 | UN.UO.78XL8036.PV | 0.3
Sea_CT_Fan_8037 | UN.UO.78XL8037.PV | 0.3
Sea_CT_Fan_8038 | UN.UO.78XL8038.PV | 0.3
Sea_CT_Fan_8039 | UN.UO.78XL8039.PV | 0.3
Sea_CT_Fan_8409 | UN.UO.78XL8409.PV | 1
Sea_CT_Fan_8410 | UN.UO.78XL8410.PV | 0.3
Sea_CT_Fan_8411 | UN.UO.78XL8411.PV | 0.3
Sea_CT_Fan_8412 | UN.UO.78XL8412.PV | 0.3
Sea_CT_Fan_8413 | UN.UO.78XL8413.PV | 0.3
Sea_CT_Fan_8414 | UN.UO.78XL8414.PV | 0.3
Sea_CT_Fan_8040 | UN.UO.78XL8040.PV | 1
Sea_CT_Fan_8041 | UN.UO.78XL8041.PV | 1
Sea_CT_Fan_8602 | UN.UO.78XL8602.PV | 0.3
Sea_CT_Fan_8604 | UN.UO.78XL8604.PV | 0.3
Sea_CT_Fan_8606 | UN.UO.78XL8606.PV | 1
Sea_CT_Fan_8608 | UN.UO.78XL8608.PV | 1
Sea_CT_Fan_8610 | UN.UO.78XL8610.PV | 1
Sea_CT_Fan_8612 | UN.UO.78XL8612.PV | 1
Sea_CT_Fan_8626 | UN.UO.78XL8626.PV | 0.9
Sea_CT_Fan_8627 | UN.UO.78XL8627.PV | 0
Sea_CT_Fan_8628 | UN.UO.78XL8628.PV | 0
Sea_CT_Fan_8629 | UN.UO.78XL8629.PV | 0
Sea_CT_Fan_8630 | UN.UO.78XL8630.PV | 0.4
Sea_CT_Fan_8631 | UN.UO.78XL8631.PV | 0
Sea_CT_Fan_8632 | UN.UO.78XL8632.PV | 0
Sea_CT_Fan_8633 | UN.UO.78XL8633.PV | 0
Sea_CT_Fan_8634 | UN.UO.78XL8634.PV | 0
Sea_CT_Fan_8635 | UN.UO.78XL8635.PV | 0
Sea_CT_Wet_bulb_temp | UN.UO.Wet_Bulb_Temperature_EO_CALC_OUTPUT | 15.5
E2523_inlet_EG1 | UN.EG1.25TI5215.PV | 24.7
E4523_inlet_EG2 | UN.EG2.45TI5215.PV | 25.6
E_2531_column_bottom | UN.EG1.25TI5512.PV | 24.5
E_2610_column_bottom | UN.EG1.26TI6252.PV | 25.6
E_2620_column_bottom | UN.EG1.26TI6361.PV | 25.9
E_4531_column_bottom | UN.EG2.45TI5512.PV | 24.2
E_4610_column_bottom | UN.EG2.46TI6252.PV | 25.2
E_4620_column_bottom | UN.EG2.46TI6361.PV | 25
E_6531_column_bottom | UN.EG3.65TI5512.PV | 192.9
E_6620_column_bottom | UN.EG3.66TI6361.PV | 166
E_2310_column_bottom | UN.EG1.23TI3236.PV | 25.4
E_4310_column_bottom | UN.EG2.43TI3236.PV | 24.3